## 5-13 1130
[5 empty] | Date: | 2019-05-13
|  |  | ECIDX (CFU/100mL) |  | Tecta (CFU/100mL)
Location | Time | PAA (mg/L) | neat | 1+99 | neat | 1+99
N_PrePAA | 12:10 | - |  | 6450 |  | 81900
N_1Min | 12:07 | 0.95 |  | 4870 |  | 107700
N_1st Pass-1 | 12:03 | 0.69 |  | 3050 |  | 53101
N_1st Pass-2 | 11:59 | 0.69 | 2420 |  | 19571
N_1st Pass-3 | 11:55 | 0.67 | 2420 |  | 25383
N_1st Pass-4 | 11:52 | 0.63 | 1990 |  | 994
N_1st Pass-5 | 11:50 | 0.62 | 770 |  | 198
N_10Min | 11:47 | 0.58 | 770 |  | 137
N_20Min | 11:43 | 0.47 | 35 |  | 1
N_30Min | 11:36 | 0.29 | 34 |  | 4
S_PrePAA |  | -
S_1Min
S_30Min

## 5-15 0830
[5 empty] | Date: | 2019-05-15
|  |  | ECIDX (CFU/100mL) |  | Tecta (CFU/100mL)
Location | Time | PAA (mg/L) | neat | 1+99 | neat | 1+99
N_PrePAA | 9:23 | - |  | 6310 | 49394045 | 220700
N_1 Min | 9:18 | 0.82 |  | 4870 | 8511890 | 36000
N_1st Pass-1 | 9:15 | 0.64 | 1990 | 3590 | 225792 | 2600
N_1st Pass-2 | 9:12 | 0.63 | >2420 | 4410 | 257857 | 100
N_1st Pass-3 | 9:08 | 0.57 | 1120 | 2600 |  | 1876
N_1st Pass-4 | 9:06 | 0.53 | 866 |  |  | 1373
N_1st Pass-5 | 9:03 | 0.49 | 613 |  |  | 400
N_10 Min | 9:01 | 0.45 | 84 |  |  | 10
N_2nd Pass-3 | 8:56 | 0.44 | 45 |  |  | 19
N_20 Min | 8:53 | 0.34 | 67 |  |  | 27
N_3rd Pass-3 | 8:49 | 0.16 | 33 |  |  | 780
N_30 Min | 8:42 | 0.14 | 44 |  |  | 17
S_PrePAA |  | -
S_1 Min
S_30 Min

## 5-22 1045
[5 empty] | Date: | 2019-05-22
|  |  | ECIDX (CFU/100mL) |  | Tecta (CFU/100mL)
Location | Time | PAA (mg/L) | neat | 1+99 | neat | 1+99
N_PrePAA | 11:17 | - |  | 9804 |  | 3472610
N_1Min | 11:13 | 0.77 |  | 6867 |  | 161790
N_1st Pass-1 | 11:09 | 0.78 |  | 4352 |  | 7030
N_1st Pass-2 | 11:06 | 0.77 |  | 7270 |  | 5230
N_1st Pass-3 | 11:04 | 0.72 |  | 4884 |  | 10310
N_1st Pass-4 | 11:01 | 0.7 | 2420 | 2851 | 13553 | 2360
N_1st Pass-5 | 10:56 | 0.62 | 1733 |  | 6302
N_10Min | 10:54 | 0.64 | 866 |  | 337
N_20Min | 10:50 | 0.49 | 93 |  | 1
N_30Min | 10:44 | 0.28 | 48 |  | 10
S_PrePAA |  | -
S_1Min
S_30Min

## 5-28 1430
[5 empty] | Date: | 2019-05-28
|  |  | ECIDX (CFU/100mL) |  | Tecta (CFU/100mL)
Location | Time | PAA (mg/L) | neat | 10+90 | neat | 10+90
N_PrePAA | 15:03 | - |  | 10810 |  | 1089900 | 1+99
N_1Min | 14:59 | 0.78 |  | 15150 |  | 72500 | 1+99
N_1st Pass-1 | 14:55 | 0.76 |  | 10462 |  | 113670
N_1st Pass-2 | 14:53 | 0.8 |  | 8664 |  | 150230
N_1st Pass-3 | 14:50 | 0.77 |  | 7270 |  | 31730
N_1st Pass-4 | 14:46 | 0.73 | >2420 | 6131 | 216974 | 20420
N_1st Pass-5 | 14:44 | 0.72 | >2420 |  | 13038
N_10Min | 14:40 | 0.65 | 2420 |  | 43894
N_20Min | 14:36 | 0.58 | 67 |  | 42
N_30Min | 14:30 | 0.42 | 44.6 |  | 13
S_PrePAA |  | -
S_1Min
S_30Min

## 5-29 1500
[5 empty] | Date: | 2019-05-29
ECIDX (CFU/100mL)
Location | Time | PAA (mg/L) | neat | 10+90
N_PrePAA | 15:33 | - |  | 21420
N_1Min | 15:30 | 0.59 |  | 16640
N_1st Pass-1 | 15:25 | 0.57 |  | 10462
N_1st Pass-3 | 15:20 | 0.57 |  | 7270
N_1st Pass-5 | 15:18 | 0.5 | >2420
N_10Min | 15:16 | 0.47 | 2420
N_20Min | 15:10 | 0.37 | 173
N_30Min | 15:03 | 0.22 | 51.2
S_PrePAA |  | -
S_1Min
S_30Min

## All data
| Date: | 2019-05-13 |  | Date: | 2019-05-15 |  | Date: | 2019-05-22 |  | Date: | 2019-05-28 |  | Date: | 2019-05-29
Location | Time | PAA (mg/L) | E. coli (CFU/100mL) | Time | PAA (mg/L) | E. coli (CFU/100mL) | Time | PAA (mg/L) | E. coli (CFU/100mL) | Time | PAA (mg/L) | E. coli (CFU/100mL) | Time | PAA (mg/L) | E. coli (CFU/100mL)
N_PrePAA | 12:10 | - | 6450 | 9:23 | - | 6310 | 11:17 | - | 9804 | 15:03 | - | 10810 | 15:33 | - | 21420
N_1 Min | 12:07 | 0.95 | 4870 | 9:18 | 0.82 | 4870 | 11:13 | 0.77 | 6867 | 14:59 | 0.78 | 15150 | 15:30 | 0.59 | 16640
N_1st Pass-1 | 12:03 | 0.69 | 3050 | 9:15 | 0.64 | 3590 | 11:09 | 0.78 | 4352 | 14:55 | 0.76 | 10462 | 15:25 | 0.57 | 10462
N_1st Pass-2 | 11:59 | 0.69 | 2420 | 9:12 | 0.63 | 4410 | 11:06 | 0.77 | 7270 | 14:53 | 0.8 | 8664 | - | - | -
N_1st Pass-3 | 11:55 | 0.67 | 2420 | 9:08 | 0.57 | 2600 | 11:04 | 0.72 | 4884 | 14:50 | 0.77 | 7270 | 15:20 | 0.57 | 7270
N_1st Pass-4 | 11:52 | 0.63 | 1990 | 9:06 | 0.53 | 866 | 11:01 | 0.7 | 2851 | 14:46 | 0.73 | 6131 | - | - | -
N_1st Pass-5 | 11:50 | 0.62 | 770 | 9:03 | 0.49 | 613 | 10:56 | 0.62 | 1733 | 14:44 | 0.72 | >2420 | 15:18 | 0.5 | >2420
N_10 Min | 11:47 | 0.58 | 770 | 9:01 | 0.45 | 84 | 10:54 | 0.64 | 866 | 14:40 | 0.65 | 2420 | 15:16 | 0.47 | 2420
N_2nd Pass-3 | - | - | - | 8:56 | 0.44 | 45 | - | - | - | - | - | - | - | - | -
N_20 Min | 11:43 | 0.47 | 35 | 8:53 | 0.34 | 67 | 10:50 | 0.49 | 93 | 14:36 | 0.58 | 67 | 15:10 | 0.37 | 173
N_3rd Pass-3 | - | - | - | 8:49 | 0.16 | 33 | - | - | - | - | - | - | - | - | -
N_30 Min | 11:36 | 0.29 | 34 | 8:42 | 0.14 | 44 | 10:44 | 0.28 | 48 | 14:30 | 0.42 | 45 | 15:03 | 0.22 | 51

## Plot data
[12 empty] | CT_actual |  | CT_predicted |  | CT_actual |  | CT_predicted | [12 empty] | CT_actual |  | CT_predicted |  | CT_actual |  | CT_predicted | [12 empty] | CT_actual |  | CT_predicted |  |  |  | CT_predicted | [20 empty] | CT_actual |  | CT_predicted |  |  |  | CT_predicted
| Date: | 2019-05-13 | [17 empty] | Date: | 2019-05-15 | [17 empty] | Date: | 2019-05-22 | [17 empty] | Date: | 2019-05-28 | [6 empty] | Date: | 2019-05-29
Location | Time | PAA (mg/L) | E. coli (CFU/100mL) | Datetime | Flow | HRT | CT_a | CT_p | LOG(N0/N) | LHS | RHS | N_p | % diff | N_p | % diff | LOG(N0/N_p) | % diff | LOG(N0/N_p) | % diff | Time | PAA (mg/L) | E. coli (CFU/100mL) | Datetime | Flow | HRT | CT_a | CT_p | LOG(N0/N) | LHS | RHS | N_p | % diff | N_p | % diff | LOG(N0/N_p) | % diff | LOG(N0/N_p) | % diff | Time | PAA (mg/L) | E. coli (CFU/100mL) | Datetime | Flow | HRT | CT_a | CT_p | LOG(N0/N) | LHS | RHS | N_p | % diff | N_p | % diff | LOG(N0/N_p) | % diff | LOG(N0/N_p) | % diff | Time | PAA (mg/L) | E. coli (CFU/100mL) | Datetime | Flow | HRT | CT | LOG(N0/N) | Time | PAA (mg/L) | E. coli (CFU/100mL) | Datetime | Flow | HRT | CT_a | CT_p | LOG(N0/N) | LHS | RHS | N_p | % diff | N_p | % diff | LOG(N0/N_p) | % diff | LOG(N0/N_p) | % diff
N_PrePAA | 12:10 | - | 6450 | 43598.5069 | 84.8718 | [14 empty] | 9:23 | - | 6310 | 43600.391 | 70.8381 | [14 empty] | 11:17 | - | 9804 | 43607.4701 | 101.3206 | [14 empty] | 15:03 | - | 10810 | 43613.6271 | #NAME? |  |  |  | 15:33 | - | 21420 | 43614.6479 | 100.235
N_1 Min | 12:07 | 0.95 | 4870 | 43598.5049 | 84.6452 | 1.9603 | 1.8623 | 1.876 | 0.12203 | 0.75504 | 0.70161 | 4525.4075 | 7.0758 | 4513.6102 | 7.3181 | 0.1539 | -26.1174 | 0.15504 | 77.903 | 9:18 | 0.82 | 4870 | 43600.3875 | 69.6425 | 2.3509 | 1.9277 | 2.1191 | 0.1125 | 0.77179 | 0.69294 | 4372.482 | 10.216 | 4216.3163 | 13.4227 | 0.1593 | -41.6007 | 0.1751 | 74.7316 | 11:13 | 0.77 | 6867 | 43607.4674 | 101.2135 | 1.6597 | 1.278 | 1.6879 | 0.15464 | 0.70043 | 0.78407 | 7687.0562 | -11.942 | 7110.51 | -3.5461 | 0.10564 | 31.6827 | 0.1395 | 82.208 | 14:59 | 0.78 | 15150 | 43613.6243 | #NAME? | #NAME? | #NAME? | -0.14659 | 15:30 | 0.59 | 16640 | 43614.6458 | 100.4769 | 1.6711 | 0.98592 | 1.695 | 0.10967 | 0.77684 | 0.82887 | 17754.4826 | -6.6976 | 15514.2289 | 6.7655 | 0.081511 | 25.6731 | 0.14009 | 83.0988
N_1st Pass-1 | 12:03 | 0.69 | 3050 | 43598.5021 | 85.6632 | 5.1478 | 4.0616 | 3.8134 | 0.32526 | 0.47287 | 0.46208 | 2980.4241 | 2.2812 | 3124.1468 | -2.431 | 0.33528 | -3.0812 | 0.31483 | 31.8673 | 9:15 | 0.64 | 3590 | 43600.3854 | 67.3591 | 7.0593 | 4.9411 | 4.9249 | 0.24493 | 0.56894 | 0.39112 | 2467.9654 | 31.2544 | 2475.5249 | 31.0439 | 0.40769 | -66.4484 | 0.40636 | -3.8971 | 11:09 | 0.78 | 4352 | 43607.4646 | 102.9543 | 4.2147 | 3.2709 | 3.2571 | 0.35271 | 0.4439 | 0.53689 | 5263.6453 | -20.9477 | 5277.4224 | -21.2643 | 0.27012 | 23.4177 | 0.26898 | 49.8999 | 14:55 | 0.76 | 10462 | 43613.6215 | #NAME? | #NAME? | #NAME? | 0.014211 | 15:25 | 0.57 | 10462 | 43614.6424 | 101.2938 | 4.3678 | 2.5231 | 3.349 | 0.3112 | 0.48842 | 0.61881 | 13254.9947 | -26.6966 | 11330.8465 | -8.3048 | 0.20844 | 33.0216 | 0.27656 | 55.3085
N_1st Pass-2 | 11:59 | 0.69 | 2420 | 43598.4993 | 86.3871 | 6.7415 | 5.1613 | 4.7428 | 0.42574 | 0.37519 | 0.37514 | 2419.6212 | 0.015651 | 2619.3394 | -8.2372 | 0.42581 | -0.015966 | 0.39137 | -4.3272 | 9:12 | 0.63 | 4410 | 43600.3833 | 65.8306 | 9.4134 | 6.4242 | 6.2422 | 0.15559 | 0.69889 | 0.29536 | 1863.7334 | 57.7385 | 1929.0496 | 56.2574 | 0.52965 | -240.4094 | 0.51469 | -74.2561 | 11:06 | 0.77 | 7270 | 43607.4625 | 105.4296 | 5.4923 | 4.2546 | 4.0165 | 0.12987 | 0.74153 | 0.44548 | 4367.4697 | 39.9248 | 4569.213 | 37.1498 | 0.35117 | -170.4061 | 0.33156 | 25.5717 | 14:53 | 0.8 | 8664 | 43613.6201 | #NAME? | #NAME? | #NAME? | 0.096107
N_1st Pass-3 | 11:55 | 0.67 | 2420 | 43598.4965 | 87.237 | 8.3352 | 6.2291 | 5.646 | 0.42574 | 0.37519 | 0.30647 | 1976.7262 | 18.3171 | 2207.4147 | 8.7845 | 0.51361 | -20.6389 | 0.46568 | -51.9487 | 9:08 | 0.57 | 2600 | 43600.3806 | 63.2737 | 11.7676 | 7.7661 | 7.5022 | 0.38506 | 0.41204 | 0.22919 | 1446.1802 | 44.3777 | 1520.1006 | 41.5346 | 0.63981 | -66.1594 | 0.61816 | -169.7154 | 11:04 | 0.72 | 4884 | 43607.4611 | 104.89 | 6.7698 | 5.1744 | 4.759 | 0.30263 | 0.49816 | 0.37421 | 3668.72 | 24.8829 | 3969.148 | 18.7316 | 0.42689 | -41.0607 | 0.39271 | -4.9437 | 14:50 | 0.77 | 7270 | 43613.6181 | #NAME? | #NAME? | #NAME? | 0.17229 | 15:20 | 0.57 | 7270 | 43614.6389 | 102.5321 | 7.0646 | 4.0268 | 4.928 | 0.46929 | 0.3394 | 0.46514 | 9963.3335 | -37.0472 | 8398.5432 | -15.5233 | 0.33241 | 29.1657 | 0.40662 | 12.5824
N_1st Pass-4 | 11:52 | 0.63 | 1990 | 43598.4944 | 86.6679 | 9.9289 | 7.2331 | 6.5229 | 0.51071 | 0.30853 | 0.25347 | 1634.8779 | 17.8453 | 1869.835 | 6.0384 | 0.59607 | -16.7156 | 0.53776 | -112.1583 | 9:06 | 0.53 | 866 | 43600.3792 | 61.5197 | 14.1218 | 9.0138 | 8.7051 | 0.86251 | 0.13724 | 0.1811 | 1142.7468 | -31.9569 | 1211.2633 | -39.8687 | 0.74208 | 13.963 | 0.71679 | -295.7963 | 11:01 | 0.7 | 2851 | 43607.459 | 105.2123 | 8.0473 | 6.0687 | 5.4847 | 0.53641 | 0.2908 | 0.31592 | 3097.2522 | -8.6374 | 3459.2916 | -21.3361 | 0.50043 | 6.7075 | 0.45242 | -43.2072 | 14:46 | 0.73 | 6131 | 43613.6153 | #NAME? | #NAME? | #NAME? | 0.24629
N_1st Pass-5 | 11:50 | 0.62 | 770 | 43598.4931 | 87.0063 | 11.5226 | 8.2212 | 7.3738 | 0.92307 | 0.11938 | 0.21031 | 1356.5263 | -76.1722 | 1592.0074 | -106.7542 | 0.67713 | 26.6435 | 0.60761 | -188.9081 | 9:03 | 0.49 | 613 | 43600.3771 | 59.2532 | 16.476 | 10.1674 | 9.8509 | 1.0126 | 0.097147 | 0.14572 | 919.4679 | -49.9948 | 975.947 | -59.2083 | 0.83649 | 17.389 | 0.8106 | -456.2898 | 10:56 | 0.62 | 1733 | 43607.4556 | 107.6116 | 9.3248 | 6.8607 | 6.1936 | 0.7526 | 0.17676 | 0.27196 | 2666.2781 | -53.8533 | 3024.8837 | -74.5461 | 0.5655 | 24.8612 | 0.51069 | -87.7842 | 14:44 | 0.72 | 2420 | 43613.6139 | #NAME? | #NAME? | #NAME? | 0.65001 | 15:18 | 0.5 |  | 43614.6375 | 103.5422 | 9.7614 | 4.8807 | 6.432
N_10 Min | 11:47 | 0.58 | 770 | 43598.491 | 86.4058 | 14.7101 | 10.07 | 8.9968 | 0.92307 | 0.11938 | 0.14841 | 957.2718 | -24.321 | 1171.8627 | -52.19 | 0.82852 | 10.2424 | 0.74068 | -399.0647 | 9:01 | 0.45 | 84 | 43600.3757 | 58.9999 | 21.1844 | 12.2862 | 11.971 | 1.8758 | 0.013312 | 0.097827 | 617.2897 | -634.8687 | 654.9401 | -679.6906 | 1.0095 | 46.1794 | 0.98383 | -905.6791 | 10:54 | 0.64 | 866 | 43607.4542 | 108.0487 | 11.8798 | 8.4959 | 7.5608 | 1.0539 | 0.088331 | 0.19969 | 1957.7468 | -126.0678 | 2335.8064 | -169.7236 | 0.69965 | 33.6126 | 0.62297 | -211.969 | 14:40 | 0.65 | 2420 | 43613.6111 | #NAME? | #NAME? | #NAME? | 0.65001 | 15:16 | 0.47 | 2420 | 43614.6361 | 102.807 | 12.4582 | 6.1482 | 7.861 | 0.947 | 0.11298 | 0.3112 | 6665.824 | -175.4473 | 4822.0057 | -99.2564 | 0.50697 | 46.4664 | 0.64759 | -108.0975
N_2nd Pass-3 | - | - | - | [16 empty] | 8:56 | 0.44 | 45 | [40 empty] | #NAME?
N_20 Min | 11:43 | 0.47 | 35 | 43598.4882 | 86.6035 | 26.5968 | 15.6567 | 14.1256 | 2.2655 | 0.0054264 | 0.052024 | 335.5542 | -858.7263 | 446.8759 | -1176.7882 | 1.2838 | 43.3325 | 1.1594 | -2128.5385 | 8:53 | 0.34 | 67 | 43600.3701 | 57.6669 | 39.2663 | 18.434 | 17.988 | 1.974 | 0.010618 | 0.030991 | 195.5517 | -191.8682 | 212.4832 | -217.1391 | 1.5088 | 23.5662 | 1.4727 | -4652.0773 | 10:50 | 0.49 | 93 | 43607.4514 | 104.8489 | 22.1456 | 13.5262 | 12.3757 | 2.0229 | 0.0094859 | 0.07752 | 760.0018 | -717.2062 | 943.1111 | -914.0979 | 1.1106 | 45.0997 | 1.0168 | -1211.7212 | 14:36 | 0.58 | 67 | 43613.6083 | #NAME? | #NAME? | #NAME? | 2.2078 | 15:10 | 0.37 | 173 | 43614.6319 | 103.3435 | 22.4546 | 9.8469 | 12.5037 | 2.0928 | 0.027417 | 0.15478 | 3315.4831 | -1816.4642 | 2011.5778 | -1062.7617 | 0.81027 | 61.2824 | 1.0273 | -563.6859
N_3rd Pass-3 | - | - | - | [16 empty] | 8:49 | 0.16 | 33 | [40 empty] | #NAME?
N_30 Min | 11:36 | 0.29 | 34 | 43598.4833 | 85.6236 | 38.8961 | 19.2235 | 17.8986 | 2.2781 | 0.0052713 | 0.026758 | 172.5896 | -407.6164 | 220.8441 | -549.5415 | 1.5725 | 30.9706 | 1.4655 | -5376.7539 | 8:42 | 0.14 | 44 | 43600.3625 | 58.9618 | 55.627 | 20.7245 | 20.5268 | 2.1566 | 0.0069731 | 0.02025 | 127.778 | -190.4044 | 132.5495 | -201.2489 | 1.6936 | 21.4694 | 1.6777 | -8184.6682 | 10:44 | 0.28 | 48 | 43607.4472 | 105.2676 | 31.9067 | 16.2593 | 15.9459 | 2.3102 | 0.004896 | 0.046485 | 455.7393 | -849.4568 | 483.2151 | -906.6981 | 1.3327 | 42.312 | 1.3073 | -2712.223 | 14:30 | 0.42 | 45 | 43613.6042 | #NAME? | #NAME? | #NAME? | 2.3806 | 15:03 | 0.22 | 51 | 43614.6271 | 101.2352 | 33.1246 | 12.1943 | 16.3224 | 2.6232 | 0.002381 | 0.09953 | 2131.9401 | -4080.2747 | 984.0507 | -1829.5111 | 1.002 | 61.8014 | 1.3378 | -1244.1146
[9 empty] | SUM | 2.5363 | 2.5363 | [16 empty] | SUM | 2.717 | 2.0845 | [17 empty] | 2.9543 | 3.0522 | [25 empty] | 1.7474 | 2.4783
Double Exponential | [8 empty] | Difference | 1.8414e-07 | [17 empty] | Difference | 0.63246 | [18 empty] | 0.09791 | [26 empty] | 0.7309
beta | 0.12949
kd | 0.15553
kp | 0.19565
Total Diff | 1.4613
CT(HRT)
b | 2.1767 | 3.3288 | 1.6915 | 1.2043
m | 0.46939 | 0.34821 | 0.49256 | 0.35396
[10 empty] | CT_predicted |  | CT_predicted
Polynomial Regression of actual CT vs HRT | [5 empty] | HRT | CT_a | CT_p | % diff | LOG(N0/N) | % diff | LOG(N0/N) | % diff
| a | b | c |  |  | 1.9603 | 1.8623 | 1.876 | -0.73728 | 0.1539 | -26.1174 | 0.15504 | 77.903
1 | -0.0072483 | 0.76781 | 0.33617 |  |  | 5.1478 | 4.0616 | 3.8134 | 6.1124 | 0.33528 | -3.0812 | 0.31483 | 31.8673
2 | -0.0057988 | 0.68748 | 0.40819 |  |  | 6.7415 | 5.1613 | 4.7428 | 8.1093 | 0.42581 | -0.015966 | 0.39137 | -4.3272
3 | -0.010513 | 0.84813 | -0.099268 |  |  | 8.3352 | 6.2291 | 5.646 | 9.3617 | 0.51361 | -20.6389 | 0.46568 | -51.9487
4 | -0.006042 | 0.56524 | 0.12112 |  |  | 9.9289 | 7.2331 | 6.5229 | 9.8186 | 0.59607 | -16.7156 | 0.53776 | -112.1583
all | -0.0051561 | 0.64445 | 0.63252 |  |  | 11.5226 | 8.2212 | 7.3738 | 10.3086 | 0.67713 | 26.6435 | 0.60761 | -188.9081
[6 empty] | 14.7101 | 10.07 | 8.9968 | 10.6572 | 0.82852 | 10.2424 | 0.74068 | -399.0647
[6 empty] | 26.5968 | 15.6567 | 14.1256 | 9.7794 | 1.2838 | 43.3325 | 1.1594 | -2128.5385
[6 empty] | 38.8961 | 19.2235 | 17.8986 | 6.892 | 1.5725 | 30.9706 | 1.4655 | -5376.7539
[6 empty] | 2.3509 | 1.9277 | 2.1191 | -9.9255 | 0.1593 | -41.6007 | 0.1751 | 74.7316
[6 empty] | 7.0593 | 4.9411 | 4.9249 | 0.32664 | 0.40769 | -66.4484 | 0.40636 | -3.8971
[6 empty] | 9.4134 | 6.4242 | 6.2422 | 2.834 | 0.52965 | -240.4094 | 0.51469 | -74.2561
[6 empty] | 11.7676 | 7.7661 | 7.5022 | 3.3979 | 0.63981 | -66.1594 | 0.61816 | -169.7154
[6 empty] | 14.1218 | 9.0138 | 8.7051 | 3.4247 | 0.74208 | 13.963 | 0.71679 | -295.7963
[6 empty] | 16.476 | 10.1674 | 9.8509 | 3.1128 | 0.83649 | 17.389 | 0.8106 | -456.2898
[6 empty] | 21.1844 | 12.2862 | 11.971 | 2.5655 | 1.0095 | 46.1794 | 0.98383 | -905.6791
[6 empty] | 39.2663 | 18.434 | 17.988 | 2.4194 | 1.5088 | 23.5662 | 1.4727 | -4652.0773
[6 empty] | 55.627 | 20.7245 | 20.5268 | 0.95382 | 1.6936 | 21.4694 | 1.6777 | -8184.6682
[6 empty] | 1.6597 | 1.278 | 1.6879 | -32.0772 | 0.10564 | 31.6827 | 0.1395 | 82.208
[6 empty] | 4.2147 | 3.2709 | 3.2571 | 0.42097 | 0.27012 | 23.4177 | 0.26898 | 49.8999
[6 empty] | 5.4923 | 4.2546 | 4.0165 | 5.5962 | 0.35117 | -170.4061 | 0.33156 | 25.5717
[6 empty] | 6.7698 | 5.1744 | 4.759 | 8.0275 | 0.42689 | -41.0607 | 0.39271 | -4.9437
[6 empty] | 8.0473 | 6.0687 | 5.4847 | 9.6221 | 0.50043 | 6.7075 | 0.45242 | -43.2072
[6 empty] | 9.3248 | 6.8607 | 6.1936 | 9.7238 | 0.5655 | 24.8612 | 0.51069 | -87.7842
[6 empty] | 11.8798 | 8.4959 | 7.5608 | 11.0063 | 0.69965 | 33.6126 | 0.62297 | -211.969
[6 empty] | 22.1456 | 13.5262 | 12.3757 | 8.5057 | 1.1106 | 45.0997 | 1.0168 | -1211.7212
[6 empty] | 31.9067 | 16.2593 | 15.9459 | 1.9276 | 1.3327 | 42.312 | 1.3073 | -2712.223
[6 empty] | 1.6711 | 0.98592 | 1.695 | -71.9242 | 0.081511 | 25.6731 | 0.14009 | 83.0988
[6 empty] | 4.3678 | 2.5231 | 3.349 | -32.7349 | 0.20844 | 33.0216 | 0.27656 | 55.3085
[6 empty] | 7.0646 | 4.0268 | 4.928 | -22.3792 | 0.33241 | 29.1657 | 0.40662 | 12.5824
[6 empty] | 9.7614 | 4.8807 | 6.432 | -31.7842
[6 empty] | 12.4582 | 6.1482 | 7.861 | -27.8586 | 0.50697 | 46.4664 | 0.64759 | -108.0975
[6 empty] | 22.4546 | 9.8469 | 12.5037 | -26.9819 | 0.81027 | 61.2824 | 1.0273 | -563.6859
[6 empty] | 33.1246 | 12.1943 | 16.3224 | -33.8528 | 1.002 | 61.8014 | 1.3378 | -1244.1146