## FullPlant-Daily
Process | Parameter | Frequency | Date Range
North Primary Influent (Single location Measured Downstream of Prelim Treatment) | North Primary Influent TSS | Daily | June 1, 2018 - Present
| North Primary Influent VSS | Daily | June 1, 2018 - Present
| North Primary Influent BOD | Daily | June 1, 2018 - Present
North Primary Effluent | North Primary Effluent TKN | Daily | June 1, 2018 - Present
Transfer Flow | Transfer Flow North to South | Daily | 1/1/2016 - Present
NSEC | North MLR Flow | Daily | 1/1/2016 - Present
| North AB9 and AB10 Nutrient Probes | Daily | June 1, 2018 - Present
SSEC | South AB3 RAS Flow | Daily | June 1, 2018 - Present
| South AB3 RAS TSS | Daily | June 1, 2018 - Present
| South AB4 RAS Flow | Daily | June 1, 2018 - Present
| South AB4 RAS TSS | Daily | June 1, 2018 - Present
| South AB6 Air | Daily | June 1, 2018 - Present
| South - 2 Tanks Nutrient Probes | Daily | June 1, 2018 - Present
| South Clarifiers In Service | Daily | 1/1/2016 - Present
| South Clarifier Blankets | Daily | 1/1/2016 - Present
SEC Effluent | North SEC Flow (Chlorination Spreadsheet) | Daily | June 1, 2018 - Present
| South SEC Flow (Chlorination Spreadsheet) | Daily | June 1, 2018 - Present
| Total SEC Flow (Chlorination Spreadsheet) | Daily | June 1, 2018 - Present
GTE | Total GTE Flow | Daily | 1/1/2016 - Present
| GTE Flow to SSEC | Daily | 1/1/2016 - Present

## FullPlant-15 minute
Process | Parameter | Frequency | Date Range | Note
North Primaries | North Primary Influent Flow | 15 minute | June 1, 2018 - Present
| North Primary Sludge Flow | 15 minute | June 1, 2018 - Present
South Primaries | South Primary Influent Flow | 15 minute | June 1, 2018 - Present
| South Primary Sludge Flow | 15 minute | June 1, 2018 - Present
Transfer Flow | Transfer Flow North to South | 15 minute | June 1, 2018 - Present
NSEC | North Secondary Influent Flow | 15 minute | June 1, 2018 - Present
| North RAS Total Flow | 15 minute | June 1, 2018 - Present
| North AB Tot Air | 15 minute | June 1, 2018 - Present
| North AB1 Flow | 15 minute | June 1, 2018 - Present
| North AB1 DO | 15 minute | June 1, 2018 - Present
| North AB1 Air Flow | 15 minute | June 1, 2018 - Present
| North RAS1 Flow | 15 minute | June 1, 2018 - Present
| North AB2 Flow | 15 minute | June 1, 2018 - Present
| North AB2 DO | 15 minute | June 1, 2018 - Present
| North AB2 Air Flow | 15 minute | June 1, 2018 - Present
| North RAS2 Flow | 15 minute | June 1, 2018 - Present
| North AB3 Flow | 15 minute | June 1, 2018 - Present
| North AB3 DO | 15 minute | June 1, 2018 - Present
| North AB3 Air Flow | 15 minute | June 1, 2018 - Present
| North RAS3 Flow | 15 minute | June 1, 2018 - Present
| North AB4 Flow | 15 minute | June 1, 2018 - Present
| North AB4 DO | 15 minute | June 1, 2018 - Present
| North AB4 Air Flow | 15 minute | June 1, 2018 - Present
| Nutrient Probes in AB9 and AB10? | 15 minute | June 1, 2018 - Present
| North RAS4 Flow | 15 minute | June 1, 2018 - Present
| North SEC Flow (Chlorination Spreadsheet) | 15 minute | June 1, 2018 - Present
| North MLR Flow | 15 minute | June 1, 2018 - Present
S SEC | South Secondary Influent Flow | 15 minute | June 1, 2018 - Present
| South MLR Flow | 15 minute | June 1, 2018 - Present
| South AB Flow | 15 minute | June 1, 2018 - Present
| South AB DO | 15 minute | June 1, 2018 - Present
| South AB Air | 15 minute | June 1, 2018 - Present
| South AB Flow | 15 minute | June 1, 2018 - Present
| South AB MLSS - I | 15 minute | June 1, 2018 - Present
| South AB DO | 15 minute | June 1, 2018 - Present
| South AB Air | 15 minute | June 1, 2018 - Present
| South AB1 ML Flow | 15 minute | June 1, 2018 - Present
| South AB1 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB1 Zone 6 DO | 15 minute | June 1, 2018 - Present
| South AB1 Zone 7 DO | 15 minute | June 1, 2018 - Present
| South AB1 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB1 Air | 15 minute | June 1, 2018 - Present
| South AB1 Zone 5 Air Flow | 15 minute | June 1, 2018 - Present
| South AB1 Zone 6 Air Flow | 15 minute | June 1, 2018 - Present
| South AB1 Zone 7 Air Flow | 15 minute | June 1, 2018 - Present
| South AB1 Zone 8 Air Flow | 15 minute | June 1, 2018 - Present
| South AB1 CaRRB Flow | 15 minute | June 1, 2018 - Present
| South AB1 RAS Flow | 15 minute | June 1, 2018 - Present
| South AB2 Flow | 15 minute | June 1, 2018 - Present
| South AB2 ML Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB2 Zone 6 DO | 15 minute | June 1, 2018 - Present
| South AB2 Zone 7 DO | 15 minute | June 1, 2018 - Present
| South AB2 Zone 8 DO | 15 minute | June 1, 2018 - Present
| South AB2 Air | 15 minute | June 1, 2018 - Present
| South AB2 Zone 5 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 6 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 7 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 8 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 CaRRB Flow | 15 minute | June 1, 2018 - Present
| South AB2 RAS Flow | 15 minute | June 1, 2018 - Present
| South AB3 Flow | 15 minute | June 1, 2018 - Present
| South AB3 ML Flow | 15 minute | June 1, 2018 - Present
| South AB3 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB3 Zone 6 DO | 15 minute | June 1, 2018 - Present
| South AB3 Zone 7 DO | 15 minute | June 1, 2018 - Present
| South AB3 Zone 8 DO | 15 minute | June 1, 2018 - Present
| South AB3 Air | 15 minute | June 1, 2018 - Present
| South AB2 Zone 5 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 6 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 7 Air Flow | 15 minute | June 1, 2018 - Present
| South AB2 Zone 8 Air Flow | 15 minute | June 1, 2018 - Present
| South AB3 CaRRB Flow | 15 minute | June 1, 2018 - Present
| South AB3 RAS Flow | 15 minute | June 1, 2018 - Present
| South AB4 Flow | 15 minute | June 1, 2018 - Present
| South AB4 ML Flow | 15 minute | June 1, 2018 - Present
| South AB4 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB4 Zone 6 DO | 15 minute | June 1, 2018 - Present
| South AB4 Zone 7 DO | 15 minute | June 1, 2018 - Present
| South AB4 Zone 8 DO | 15 minute | June 1, 2018 - Present
| South AB4 Air | 15 minute | June 1, 2018 - Present
| South AB4 Zone 5 Air Flow | 15 minute | June 1, 2018 - Present
| South AB4 Zone 6 Air Flow | 15 minute | June 1, 2018 - Present
| South AB4 Zone 7 Air Flow | 15 minute | June 1, 2018 - Present
| South AB4 Zone 8 Air Flow | 15 minute | June 1, 2018 - Present
| South AB4 CaRRB Flow | 15 minute | June 1, 2018 - Present
| South AB4 RAS Flow | 15 minute | June 1, 2018 - Present
| South AB5 Flow | 15 minute | June 1, 2018 - Present
| South AB5 ML Flow | 15 minute | June 1, 2018 - Present
| South AB5 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB5 Zone 6 DO | 15 minute | June 1, 2018 - Present
| South AB5 Zone 7 DO | 15 minute | June 1, 2018 - Present
| South AB5 Zone 8 DO | 15 minute | June 1, 2018 - Present
| South AB5 Air | 15 minute | June 1, 2018 - Present
| South AB5 Zone 5 Air Flow | 15 minute | June 1, 2018 - Present
| South AB5 Zone 6 Air Flow | 15 minute | June 1, 2018 - Present
| South AB5 Zone 7 Air Flow | 15 minute | June 1, 2018 - Present
| South AB5 Zone 8 Air Flow | 15 minute | June 1, 2018 - Present
| South AB5 CaRRB Flow | 15 minute | June 1, 2018 - Present
| South AB5 RAS Flow | 15 minute | June 1, 2018 - Present
| South AB6 Flow | 15 minute | June 1, 2018 - Present
| South AB6 ML Flow | 15 minute | June 1, 2018 - Present
| South AB6 Zone 5 DO | 15 minute | June 1, 2018 - Present
| South AB6 Zone 6 DO | 15 minute | June 1, 2018 - Present
| South AB6 Zone 7 DO | 15 minute | June 1, 2018 - Present
| South AB6 Zone 8 DO | 15 minute | June 1, 2018 - Present
| South AB6 Air | 15 minute | June 1, 2018 - Present
| South AB6 Zone 5 Air Flow | 15 minute | June 1, 2018 - Present
| South AB6 Zone 6 Air Flow | 15 minute | June 1, 2018 - Present
| South AB6 Zone 7 Air Flow | 15 minute | June 1, 2018 - Present
| South AB6 Zone 8 Air Flow | 15 minute | June 1, 2018 - Present
| South AB6 CaRRB Flow | 15 minute | June 1, 2018 - Present
| South AB6 RAS Flow | 15 minute | June 1, 2018 - Present
| SOUTH NUTRIENT PROBES IN TWO TANKS? | 15 minute | June 1, 2018 - Present
| South SE Flow | 15 minute | June 1, 2018 - Present
| South SE TSS-I | 15 minute | June 1, 2018 - Present
| South SEC Flow (Chlorination Spreadsheet) | 15 minute | June 1, 2018 - Present
| Total SEC Flow (Chlorination Spreadsheet) | 15 minute | June 1, 2018 - Present
| Final Effluent Flow | 15 minute | June 1, 2018 - Present
WAS | North SWAS Flow | 15 minute | June 1, 2018 - Present
| North WAS Flow | 15 minute | June 1, 2018 - Present
| South SWAS Flow | 15 minute | June 1, 2018 - Present
| South WAS Flow | 15 minute | June 1, 2018 - Present
| Total SWAS Flow | 15 minute | June 1, 2018 - Present
| Total WAS Flow | 15 minute | June 1, 2018 - Present
North CaRRB | North CaRRB Centrate Flow | 15 minute | June 1, 2018 - Present
| North CaRRB RAS Flow | 15 minute | June 1, 2018 - Present
| North Dewatering Flow | 15 minute | June 1, 2018 - Present
| North CaRRB Airflow | 15 minute | June 1, 2018 - Present
| North CaRRB DO | 15 minute | June 1, 2018 - Present
South CaRRB | South CaRRB RAS Flow | 15 minute | June 1, 2018 - Present
| South CaRRB Cent Flow | 15 minute | June 1, 2018 - Present
| South CaRRB Air | 15 minute | June 1, 2018 - Present
| South CaRRB Zone A DO | 15 minute | June 1, 2018 - Present
| South CaRRB Zone B DO | 15 minute | June 1, 2018 - Present
| South CaRRB1 RAS Flow | 15 minute | June 1, 2018 - Present
| South CaRRB1 Cent Flow | 15 minute | June 1, 2018 - Present
| South CaRRB1 Air | 15 minute | June 1, 2018 - Present
| South CaRRB1 Zone A DO | 15 minute | June 1, 2018 - Present
| South CaRRB1 Zone B DO | 15 minute | June 1, 2018 - Present
| South CaRRB2 RAS Flow | 15 minute | June 1, 2018 - Present
| South CaRRB2 Cent Flow | 15 minute | June 1, 2018 - Present
| South CaRRB3 RAS Flow | 15 minute | June 1, 2018 - Present
| South CaRRB3 Cent Flow | 15 minute | June 1, 2018 - Present
| South CaRRB3 Air | 15 minute | June 1, 2018 - Present
| South CaRRB3 Zone A DO | 15 minute | June 1, 2018 - Present
| South CaRRB3 Zone B DO | 15 minute | June 1, 2018 - Present
Daft | Daft Feed Flow | 15 minute | June 1, 2018 - Present
| Daft Float Flow | 15 minute | June 1, 2018 - Present
| Daft Subnatant Flow | 15 minute | June 1, 2018 - Present
GVT | GVT Influent Sludge Flow | 15 minute | June 1, 2018 - Present
| GVT Effluent Flow | 15 minute | June 1, 2018 - Present
| GVT Underflow Flow | 15 minute | June 1, 2018 - Present
AD | Overall Digester Flow | 15 minute | June 1, 2018 - Present
Anaerobic Digestion | Anaerobic Digester Gas Production | 15 minute | June 1, 2018 - Present
Dewatering | Centrifuge Feed Flow | 15 minute | June 1, 2018 - Present
DMX | DMX1 Centrate Flow | 15 minute | June 1, 2018 - Present
| DMX1 DO | 15 minute | June 1, 2018 - Present
| DMX2 pH | 15 minute | June 1, 2018 - Present
| DMX2 Temperature | 15 minute | June 1, 2018 - Present
| DMX2 Centrate Flow | 15 minute | June 1, 2018 - Present
| DMX2 DO | 15 minute | June 1, 2018 - Present
| Total Flow | 15 minute | June 1, 2018 - Present
| Total Flow | 15 minute | June 1, 2018 - Present
| DMX 1 DO | 15 minute | June 1, 2018 - Present
| DMX2 DO | 15 minute | June 1, 2018 - Present
| DMX1 Air Flow Average | 15 minute | June 1, 2018 - Present
| DMX1 Air Flow Total | 15 minute | June 1, 2018 - Present
| DMX2 Air Flow Average | 15 minute | June 1, 2018 - Present
| DMX2 Air FlowTotal | 15 minute | June 1, 2018 - Present
| Flow (gpm) | 15 minute | June 1, 2018 - Present
| EQ NH3A | 15 minute | June 1, 2018 - Present
| R1 NH3A | 15 minute | June 1, 2018 - Present
| R2 NH3A | 15 minute | June 1, 2018 - Present
| R1 NO2 | 15 minute | June 1, 2018 - Present
| R2 NO2 | 15 minute | June 1, 2018 - Present
| R1 NO3 | 15 minute | June 1, 2018 - Present
| R2 NO3 | 15 minute | June 1, 2018 - Present

## AB2Pilot-15minute
Process | Parameter | Frequency | Date Range
AB2 Pilot | AB2 PE FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB2 MLR FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB2 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB2 GTE FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB2 TOT FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB2 RAS TO Z2 FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB2 WAS PUMP FLOW (MGD) | 15 minute | June 1, 2018 - Present
| CYCLONE OF (MGD) | 15 minute | June 1, 2018 - Present
| CYCLONE UF (MGD) | 15 minute | June 1, 2018 - Present
| CYCLONE PRESSURE READ (psi) | 15 minute | June 1, 2018 - Present
| CYCLONE PRESSURE STPT (psi) | 15 minute | June 1, 2018 - Present
| CYCLONE SKID 1 PRESSURE (psi) | 15 minute | June 1, 2018 - Present
| CYCLONE SKID 2 PRESSURE (psi) | 15 minute | June 1, 2018 - Present
| AB2 PASS C MLSS (mg/L) | 15 minute | June 1, 2018 - Present
| AB2 MLR MLSS (mg/L) | 15 minute | June 1, 2018 - Present
| CLAR 2 EFF TSS (mg/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS A DO (mg/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS A AIRFLOW (SCFM) | 15 minute | June 1, 2018 - Present
| AB2 PASS B DO (mg/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS B AIRFLOW (SCFM) | 15 minute | June 1, 2018 - Present
| AB2 PASS C DO (mg/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS C AIRFLOW (SCFM) | 15 minute | June 1, 2018 - Present
| AB2B TEMP (*C) | 15 minute | June 1, 2018 - Present
| SC2 BLANKET DEPTH (ft) | 15 minute | June 1, 2018 - Present
| SC4 BLANKET DEPTH (ft) | 15 minute | June 1, 2018 - Present
| NSI NH3 (mg N/L) | 15 minute | June 1, 2018 - Present
| NSI NO5 (mg N/L) | 15 minute | June 1, 2018 - Present
| NSI COD (mg/L) | 15 minute | June 1, 2018 - Present
| NSI TSS (mg/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS C NH3 (mg N/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS C NO5 (mg N/L) | 15 minute | June 1, 2018 - Present
| AB2 ZONE 3 NH3 (mg N/L) | 15 minute | June 1, 2018 - Present
| AB2ZONE 3 NO5 (mg N/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS B NH3 (mg N/L) | 15 minute | June 1, 2018 - Present
| AB2 PASS B NO5 (mg N/L) | 15 minute | June 1, 2018 - Present
| AB4 PASS A DO (mg/L) | 15 minute | June 1, 2018 - Present
| AB4 PASS A AIRFLOW (SCFM) | 15 minute | June 1, 2018 - Present
| AB4 PASS B DO (mg/L) | 15 minute | June 1, 2018 - Present
| AB4B AIRFLOW (SCFM) | 15 minute | June 1, 2018 - Present
| AB4 PASS C DO (mg/L) | 15 minute | June 1, 2018 - Present
| AB4 PASS C AIRFLOW (SCFM) | 15 minute | June 1, 2018 - Present
| AB4 PASS C MLSS (mg/L) | 15 minute | June 1, 2018 - Present
| Q1 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| Q2 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| Q3 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| Q4 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| RAS FLOW TOT (MGD) | 15 minute | June 1, 2018 - Present
| ACTUAL Q2 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| NSI FLOW (MGD) | 15 minute | June 1, 2018 - Present
| NSEC BASIN IN SVC | 15 minute | June 1, 2018 - Present
| AB4 PE FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB4 RAS FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB4 MLR FLOW (MGD) | 15 minute | June 1, 2018 - Present
| AB4 TOT FLOW (MGD) | 15 minute | June 1, 2018 - Present