## FlatData
LOCATION_CODE | COMMON_NAME | LOCATION_DESCRIPTION | COLLECTION_DATE | COLLECTION_TIME | ANALYSIS_CODE | ANALYSIS_NAME | ANALYTE_NAME | COMBINATION_RESULT | NUMERIC_RESULT | ANALYSIS_UNIT | ANALYTE_MDL | QUALIFIER | ACQUIRED_TYPE
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-23 | 06:36 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.0 | 1.0 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-06-23 | 06:34 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 10500 | 10500 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-23 | 06:30 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 77000 | 77000 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-23 | 06:36 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | Scratched |  | mg/L | 0.1 | -5 | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-06-23 | 06:34 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | Scratched |  | EC/100mL | 1 | -5 | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-23 | 06:30 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | Scratched |  | EC/100mL | 1 | -5 | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-24 | 07:46 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.46 | 0.46 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-24 | 07:46 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 41 | 41 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-24 | 07:42 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.18 | 1.18 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-24 | 07:42 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 6630 | 6630 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-24 | 07:49 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.21 | 0.21 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 07:54 | TSS | Total Suspended Solids | Total Suspended Solids | 4 | 4 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 07:54 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 40 | 40 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 07:54 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.00 | 0.00 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-24 | 11:02 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.85 | 0.85 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-24 | 11:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 222 | 222 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-24 | 10:57 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.21 | 1.21 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-24 | 10:57 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 4650 | 4650 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-24 | 11:06 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.71 | 0.71 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 11:12 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.47 | 0.47 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 11:12 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 11:12 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 36 | 36 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 21 | 21 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 53.8 | 53.8 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | Scratched |  | mg/L | 0.02 | -19 | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 11.5 | 11.5 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 13.80 | 13.80 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 96.5 | 96.5 | mg/L | 0.6 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 8570 | 8570 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 10:53 | TSS | Total Suspended Solids | Total Suspended Solids | 10 | 10 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-24 | 13:05 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.07 | 1.07 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-24 | 13:05 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 461 | 461 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-24 | 13:02 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.29 | 1.29 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-24 | 13:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9590 | 9590 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-24 | 13:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.93 | 0.93 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 13:15 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 35 | 35 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 13:15 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.57 | 0.57 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-24 | 13:15 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 23 | 23 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 54.9 | 54.9 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | Scratched |  | mg/L | 0.02 | -19 | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 11.0 | 11.0 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 14.80 | 14.80 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 105.0 | 105.0 | mg/L | 0.6 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-24 | 12:57 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 8890 | 8890 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-24 | 12:25 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 46100 | 46100 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-25 | 08:04 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.58 | 0.58 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-25 | 08:04 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 50 | 50 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-25 | 07:56 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.09 | 1.09 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-25 | 07:56 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 8390 | 8390 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-25 | 08:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.16 | 0.16 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 08:18 | TSS | Total Suspended Solids | Total Suspended Solids | 5 | 5 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 08:18 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 24 | 24 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 08:18 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.03 | 0.03 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-25 | 11:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.70 | 0.70 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-25 | 11:10 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 163 | 163 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-25 | 11:04 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.24 | 1.24 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-25 | 11:04 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 11100 | 11100 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-25 | 11:16 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.68 | 0.68 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 11:23 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.17 | 0.17 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 11:23 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 11:23 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 58 | 58 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 23 | 23 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 55.1 | 55.1 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | Scratched |  | mg/L | 0.02 | -19 | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 12.5 | 12.5 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 13.90 | 13.90 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 102.0 | 102.0 | mg/L | 0.6 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 12200 | 12200 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 10:59 | TSS | Total Suspended Solids | Total Suspended Solids | 12 | 12 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-25 | 13:19 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.83 | 0.83 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-25 | 13:19 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 313 | 313 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-25 | 13:09 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.25 | 1.25 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-25 | 13:09 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 14700 | 14700 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-25 | 13:25 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.73 | 0.73 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 13:33 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 68 | 68 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 13:33 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.49 | 0.49 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-25 | 13:33 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 23 | 23 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 55.3 | 55.3 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | Scratched |  | mg/L | 0.02 | -19 | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 11.7 | 11.7 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 14.60 | 14.60 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 106.0 | 106.0 | mg/L | 0.6 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | TSS | Total Suspended Solids | Total Suspended Solids | 11 | 11 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-25 | 13:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 15500 | 15500 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-25 | 07:07 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 105000 | 105000 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-26 | 07:22 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.0 | 1.0 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-06-26 | 07:20 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 8600 | 8600 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-26 | 07:15 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 26100 | 26100 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-27 | 07:51 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.39 | 0.39 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-27 | 07:51 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 96 | 96 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-27 | 07:44 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.32 | 1.32 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-27 | 07:44 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9600 | 9600 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-27 | 07:57 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.10 | 0.10 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 08:05 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 08:05 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 76 | 76 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 08:05 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.06 | 0.06 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-27 | 11:14 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.74 | 0.74 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-27 | 11:14 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 184 | 184 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-27 | 11:09 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.09 | 1.09 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-27 | 11:09 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9100 | 9100 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-27 | 11:20 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.64 | 0.64 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 11:26 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.41 | 0.41 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 11:26 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 11:26 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 88 | 88 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 24 | 24 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 49.7 | 49.7 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | Scratched |  | mg/L | 0.02 | -19 | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 13.0 | 13.0 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 14.10 | 14.10 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 100.0 | 100.0 | mg/L | 0.6 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 17200 | 17200 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 11:04 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-27 | 13:28 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.96 | 0.96 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-27 | 13:28 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 365 | 365 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-27 | 13:22 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.18 | 1.18 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-27 | 13:22 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 11000 | 11000 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-27 | 13:32 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.70 | 0.70 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 13:38 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 64 | 64 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 13:38 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.49 | 0.49 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-27 | 13:38 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 21 | 21 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 52.9 | 52.9 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | Scratched |  | mg/L | 0.02 | -19 | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 12.1 | 12.1 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 14.70 | 14.70 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 105.0 | 105.0 | mg/L | 0.6 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | TSS | Total Suspended Solids | Total Suspended Solids | 10 | 10 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-27 | 13:18 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 13300 | 13300 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-27 | 10:08 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 32600 | 32600 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-28 | 07:47 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.26 | 0.26 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-28 | 07:47 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 74 | 74 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-28 | 07:36 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.17 | 1.17 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-28 | 07:36 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 8600 | 8600 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-28 | 07:56 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.06 | 0.06 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 08:05 | TSS | Total Suspended Solids | Total Suspended Solids | 5 | 5 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 08:05 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 76 | 76 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 08:05 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.01 | 0.01 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-28 | 11:32 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.75 | 0.75 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-28 | 11:32 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 308 | 308 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-28 | 11:18 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.44 | 1.44 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-28 | 11:18 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 3640 | 3640 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-28 | 11:40 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.66 | 0.66 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 11:51 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.35 | 0.35 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 11:51 | TSS | Total Suspended Solids | Total Suspended Solids | 7 | 7 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 11:51 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 45 | 45 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 24 | 24 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 51.6 | 51.6 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | 0.11 | 0.11 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 12.7 | 12.7 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 13.80 | 13.80 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 100.0 | 100.0 | mg/L | 0.6 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 6840 | 6840 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 11:08 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-28 | 13:35 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.96 | 0.96 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-06-28 | 13:35 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 150 | 150 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-28 | 13:23 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.17 | 1.17 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-28 | 13:23 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 6240 | 6240 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-06-28 | 13:43 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.68 | 0.68 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 13:52 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 70 | 70 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 13:52 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.42 | 0.42 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-06-28 | 13:52 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 21 | 21 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 53.6 | 53.6 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | 0.11 | 0.11 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 12.0 | 12.0 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 14.40 | 14.40 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 104.0 | 104.0 | mg/L | 0.6 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-06-28 | 13:15 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 10100 | 10100 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-06-28 | 09:14 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 54800 | 54800 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-29 | 15:08 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.1 | 1.1 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-06-29 | 15:06 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 16600 | 16600 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-06-30 | 07:25 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.2 | 1.2 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-06-30 | 07:23 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 13700 | 13700 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-01 | 07:49 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.51 | 0.51 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-01 | 07:49 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 53 | 53 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-01 | 07:46 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.34 | 1.34 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-01 | 07:46 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 8600 | 8600 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-01 | 07:53 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.09 | 0.09 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 07:57 | TSS | Total Suspended Solids | Total Suspended Solids | 5 | 5 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 07:57 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 37 | 37 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 07:57 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.04 | 0.04 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-01 | 11:20 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.73 | 0.73 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-01 | 11:20 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 249 | 249 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-01 | 11:14 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.17 | 1.17 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-01 | 11:14 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 7710 | 7710 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-01 | 11:26 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.59 | 0.59 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 11:32 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.30 | 0.30 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 11:32 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 11:32 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 75 | 75 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 22 | 22 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 50.8 | 50.8 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | 0.11 | 0.11 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 12.1 | 12.1 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 13.70 | 13.70 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 96.1 | 96.1 | mg/L | 0.6 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9590 | 9590 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 11:02 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-01 | 13:16 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.75 | 0.75 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-01 | 13:16 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 249 | 249 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-01 | 13:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.16 | 1.16 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-01 | 13:10 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 7800 | 7800 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-01 | 13:23 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.56 | 0.56 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 13:31 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 41 | 41 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 13:31 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.47 | 0.47 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-01 | 13:31 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 21 | 21 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 53.1 | 53.1 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | 0.11 | 0.11 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 11.0 | 11.0 | mg/L | 0.5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 14.30 | 14.30 | mg/L | 0.02 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 97.1 | 97.1 | mg/L | 0.6 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | TSS | Total Suspended Solids | Total Suspended Solids | 7 | 7 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-01 | 13:03 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 15800 | 15800 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-01 | 07:10 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 46100 | 46100 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-02 | 07:45 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.28 | 0.28 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-02 | 07:45 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 82 | 82 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-02 | 07:36 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.12 | 1.12 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-02 | 07:36 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9590 | 9590 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-02 | 07:51 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.0 | 0.0 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 07:57 | TSS | Total Suspended Solids | Total Suspended Solids | 5 | 5 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 07:57 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 140 | 140 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 07:57 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.0 | 0.0 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-02 | 11:19 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.62 | 0.62 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-02 | 11:19 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 285 | 285 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-02 | 11:11 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.04 | 1.04 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-02 | 11:11 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 11000 | 11000 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-02 | 11:25 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.49 | 0.49 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 11:32 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.24 | 0.24 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 11:32 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 11:32 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 47 | 47 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 20 | 20 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | y |  |  | NA |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | _TITLE_ |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | $ICPT1 | Metals, Tot., ICP | Calcium, Tot. | 52.2 | 52.2 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | $ICPT1 | Metals, Tot., ICP | Iron, Tot. | 0.13 | 0.13 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | $ICPT1 | Metals, Tot., ICP | Potassium, Tot. | 12.0 | 12.0 | mg/L | 0.5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | $ICPT1 | Metals, Tot., ICP | Magnesium, Tot. | 13.30 | 13.30 | mg/L | 0.02 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | $ICPT1 | Metals, Tot., ICP | Sodium, Tot. | 95.7 | 95.7 | mg/L | 0.6 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 13500 | 13500 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 11:07 | TSS | Total Suspended Solids | Total Suspended Solids | 7 | 7 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-02 | 13:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.88 | 0.88 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-02 | 13:10 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 249 | 249 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-02 | 13:03 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.07 | 1.07 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-02 | 13:03 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 4950 | 4950 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-02 | 13:16 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.64 | 0.64 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 13:22 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 68 | 68 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 13:22 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.33 | 0.33 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-02 | 13:22 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 13:00 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 25 | 25 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 13:00 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 13:00 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 13:00 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-02 | 13:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 14800 | 14800 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-02 | 09:15 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 21400 | 21400 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-03 | 10:20 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.0 | 1.0 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-07-03 | 10:18 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 15600 | 15600 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-04 | 11:31 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.8 | 0.8 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-07-04 | 11:25 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9320 | 9320 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-05 | 07:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.2 | 1.2 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-07-05 | 07:07 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9080 | 9080 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-06 | 14:07 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.0 | 1.0 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-07-06 | 14:06 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 18500 | 18500 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-07 | 09:26 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.9 | 0.9 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-07-07 | 09:25 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 11000 | 11000 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-07 | 09:32 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 18500 | 18500 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-08 | 07:44 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.2 | 0.2 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-08 | 07:44 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 91 | 91 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-08 | 07:37 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.8 | 0.8 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-08 | 07:37 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 10800 | 10800 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-08 | 07:50 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.0 | 0.0 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 07:56 | TSS | Total Suspended Solids | Total Suspended Solids | 5 | 5 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 07:56 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 63 | 63 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 07:56 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.0 | 0.0 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-08 | 11:14 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.6 | 0.6 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-08 | 11:14 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 1550 | 1550 | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-08 | 11:06 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.8 | 0.8 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-08 | 11:06 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9340 | 9340 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-08 | 11:20 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.4 | 0.4 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 11:27 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.2 | 0.2 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 11:27 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 11:27 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 72 | 72 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 11:03 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 21 | 21 | mg/L | 5 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 11:03 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 11:03 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 11:03 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 9930 | 9930 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 11:03 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-08 | 13:18 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.6 | 0.6 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-08 | 13:18 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | >2420 |  | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-08 | 13:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.0 | 1.0 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-08 | 13:10 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 10900 | 10900 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-08 | 13:23 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.4 | 0.4 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 13:30 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 64 | 64 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 13:30 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.2 | 0.2 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-08 | 13:30 | TSS | Total Suspended Solids | Total Suspended Solids | 10 | 10 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 13:08 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | 19 | 19 | mg/L | 5 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 13:08 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 13:08 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 13:08 | TSS | Total Suspended Solids | Total Suspended Solids | 9 | 9 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-08 | 13:08 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 12200 | 12200 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-08 | 07:14 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 34500 | 34500 | EC/100mL | 100 |  | G
012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-09 | 14:08 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.7 | 0.7 | mg/L | 0.1 |  | G
012_700_1011 | N_PREPAA | RWH North, Pre-PAA addition | 2019-07-09 | 14:06 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 43500 | 43500 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-09 | 14:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 18500 | 18500 | EC/100mL | 1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-10 | 07:42 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.19 | 0.19 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-10 | 07:42 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 184 | 184 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-10 | 07:37 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.78 | 0.78 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-10 | 07:37 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 21000 | 21000 | EC/100mL | 100 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-10 | 07:46 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.00 | 0.00 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 07:51 | TSS | Total Suspended Solids | Total Suspended Solids | 10 | 10 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 07:51 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 166 | 166 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 07:51 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.02 | 0.02 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-10 | 11:17 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.67 | 0.67 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-10 | 11:17 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | >2420 |  | EC/100mL | 1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-10 | 11:13 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.74 | 0.74 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-10 | 11:13 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 17800 | 17800 | EC/100mL | 100 |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-10 | 11:21 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.31 | 0.31 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 11:25 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.12 | 0.12 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 11:25 | TSS | Total Suspended Solids | Total Suspended Solids | 7 | 7 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 11:25 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 214 | 214 | EC/100mL | 1 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 11:08 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 11:08 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 11:08 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 11:08 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 17800 | 17800 | EC/100mL | 100 |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 11:08 | TSS | Total Suspended Solids | Total Suspended Solids | 8 | 8 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-10 | 13:07 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.06 | 1.06 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-10 | 13:07 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 1300 | 1300 | EC/100mL | 1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-10 | 13:02 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.72 | 0.72 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-10 | 13:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 15300 | 15300 | EC/100mL | 100 |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-10 | 13:11 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.04 | 1.04 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 13:17 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 91 | 91 | EC/100mL | 1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 13:17 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 1.00 | 1.00 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-10 | 13:17 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 12:57 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 12:57 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 12:57 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 12:57 | TSS | Total Suspended Solids | Total Suspended Solids | 11 | 11 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-10 | 12:57 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 24900 | 24900 | EC/100mL | 100 |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-10 | 15:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 30800 | 30800 | EC/100mL | 100 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-11 | 07:44 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.10 | 0.10 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-11 | 07:44 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 130 | 130 | EC/100mL | 1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-11 | 07:37 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.90 | 0.90 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-11 | 07:37 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 15200 | 15200 | EC/100mL | 1 |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-11 | 07:49 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.04 | 0.04 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 07:54 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 07:54 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | 124 | 124 | EC/100mL | 1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 07:54 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.06 | 0.06 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-11 | 11:09 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.45 | 0.45 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-11 | 11:09 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-11 | 11:02 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.83 | 0.83 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-11 | 11:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-11 | 11:14 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.34 | 0.34 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 11:19 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.18 | 0.18 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 11:19 | TSS | Total Suspended Solids | Total Suspended Solids | 7 | 7 | mg/L | 1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 11:19 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 10:58 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 10:58 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 10:58 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 10:58 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 10:58 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-11 | 13:08 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.60 | 0.60 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-11 | 13:08 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-11 | 12:59 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.75 | 0.75 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-11 | 12:59 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-11 | 13:13 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.36 | 0.36 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 13:19 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 13:19 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.28 | 0.28 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-11 | 13:19 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 12:56 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 12:56 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 12:56 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 12:56 | TSS | Total Suspended Solids | Total Suspended Solids | 6 | 6 | mg/L | 1 |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-11 | 12:56 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-11 | 15:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-12 | 07:37 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.19 | 0.19 | mg/L | 0.1 |  | G
012_712_1012 | 1 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-12 | 07:37 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-12 | 07:31 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.76 | 0.76 | mg/L | 0.1 |  | G
012_712_1011 | 1 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-12 | 07:31 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1013 | 1 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-12 | 07:41 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.07 | 0.07 | mg/L | 0.1 |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 07:46 | TSS | Total Suspended Solids | Total Suspended Solids | PENDING |  |  |  |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 07:46 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1021 | 1 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 07:46 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.01 | 0.01 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-12 | 11:08 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.54 | 0.54 | mg/L | 0.1 |  | G
012_712_1012 | 2 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-12 | 11:08 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-12 | 11:02 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.98 | 0.98 | mg/L | 0.1 |  | G
012_712_1011 | 2 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-12 | 11:02 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1013 | 2 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-12 | 11:13 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.39 | 0.39 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 11:19 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.21 | 0.21 | mg/L | 0.1 |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 11:19 | TSS | Total Suspended Solids | Total Suspended Solids | PENDING |  |  |  |  | G
012_712_1021 | 2 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 11:19 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 11:00 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 11:00 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 11:00 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 11:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_700_1011 | 2 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 11:00 | TSS | Total Suspended Solids | Total Suspended Solids | PENDING |  |  |  |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-12 | 13:10 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.65 | 0.65 | mg/L | 0.1 |  | G
012_712_1012 | 3 NPAA10MN | RWH North, Post-PAA addition, 10 Min Contact Time | 2019-07-12 | 13:10 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-12 | 13:04 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.82 | 0.82 | mg/L | 0.1 |  | G
012_712_1011 | 3 NPAA1MIN | RWH North, Post-PAA addition, 1 Min Contact Time | 2019-07-12 | 13:04 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1013 | 3 NPAA20MN | RWH North, Post-PAA addition, 20 Min Contact Time | 2019-07-12 | 13:15 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.46 | 0.46 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 13:19 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 13:19 | PAAR | PAA Residual, Peroxychem | PAA Residual, Peroxychem | 0.25 | 0.25 | mg/L | 0.1 |  | G
012_712_1021 | 3 NPAA30MN | RWH North, Post-PAA Pre-SBS, 30 Min Contact Time | 2019-07-12 | 13:19 | TSS | Total Suspended Solids | Total Suspended Solids | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 13:00 | CODLL | CODLL, w/Ag2SO4, w/ HgSO4 | CODLL, w/Ag2SO4, w/ HgSO4 | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 13:00 | DTRM4 | Dig., Tot. Rec. Metals | Dig., Tot. Rec. Metals | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 13:00 | $ICPT1 | Metals, Tot., ICP | Metals, Tot., ICP | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 13:00 | TSS | Total Suspended Solids | Total Suspended Solids | PENDING |  |  |  |  | G
012_700_1011 | 3 N_PREPAA | RWH North, Pre-PAA addition | 2019-07-12 | 13:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G
011_530_1061 | S_PREPAA | RWH South, Sec Clarifiers, Clar 6 Eff | 2019-07-12 | 14:00 | ECIDX | E-Coli, MPN Idexx Colilert | E-Coli, MPN Idexx Colilert | PENDING |  |  |  |  | G