# MWRD PAA

Kathryn B. Newhart

3/28/2019

# Introduction

The Robert W. Hite Treatment Facility, operated by the Metro Wastewater Reclamation District (MWRD) of Denver, CO, treats ~130 million gallons per day (MGD) of wastewater produced by ~2 million people from the Denver-metro area and is the largest wastewater treatment facility in the Rocky Mountain west. In an effort to reduce the cost of disinfection, a peracetic acid (PAA) system was installed to replace the existing chloramine system. However, due to variable influent E. coli concentrations to the disinfection system, it has been difficult to optimize the dosing of PAA to keep below E. coli limits of 126 (most probable number [MPN])/100 mL based on a 30-day geometric mean and 252 MPN/100 mL based on a 7-day geometric mean. In practice, PAA is overdosed to ensure that MWRD is meeting it’s discharge limit. The goal of this work is to identify correlations between upstream operating conditions in the secondary activated sludge system, E. coli concentrations, and PAA dosing.

# Goals

Design a PAA disinfection dosing system that account for:

- Upstream secondary treatment performance

- Flowrate through the disinfection basin (i.e., hydraulic retention time or HRT)

- Flow conditions in receiving water body (e.g., low, mid-range, high, dry, moist)

# Questions

- What effects pre-disinifection E. coli?

- What effects PAA disinfection efficiency?

# Procedure

Data was provided by MWRD at a variety of intervals and locations in the treatment process:

| Location | Frequency | Source | Variables |
| --- | --- | --- | --- |
| North Secondary | 15 min | Sensors | Influent/recirculation/effluent flow, Temperature, Ammonia, TSS, COD, pH, DO, SRT, Nitrate, Ortho-P, Nitrite |
| North Disinfection | 15 min | Sensors | Influent flow, PAA residual, PAA pump flow, PAA setpoint, HRT |
| North Disinfection | Daily | Grab | PAA dose, Upstream residual, Pre-disinfection E. coli, Effluent flow, HRT, Effluent E. coli, CT |
| North Secondary Influent | Daily | 24 hr composite | BOD, Ammonia, TSS |
| North Secondary Effluent | Daily | 24 hr composite | cBOD, Ammonia, TSS |
| North Secondary Influent | 2-3 days | 24 hr composite | COD, Nitrate-nitrite, C:N, C:P, TP, TIN, TKN, TN |
| North Secondary Effluent | 2-3 days | 24 hr composite | Alkalinity, Nitrate-nitrite, C:N, C:P, TP, TIN, TKN, TN |
| North Secondary | 2-5 Days | Grab | SVI, TSS, VSS |
| North Secondary Influent | Weekly | 24 hr composite | Alkalinity, OP |
| North Secondary Influent | Weekly | 24 hr composite | COD, OP |

# Data cleaning

If the distribution of each variable is assumed to be univariate normal and scaled (i.e., zero mean, unit variance), boxplots can be constructed to visualize the range of observations in the dataset. The existance of numerous outliers, heavily shifted on either side of the variable’s median (Figures S1-S3) indicate that the majority of water quality variables are not normally distributed.

To achieve the goal of predicting E. coli, a log-transformed pre-disinfection E. coli grab data was merged with a reduced North secondary dataset (Figure 1) and data from a visual spectrum analyzer (Figure 2).

Figure 1. Boxplots of water quality variables from North secondary used to predict E. coli from 2018-06-01 / 2018-12-01.

Figure 2. Boxplots of water quality variables immediately upstream of PAA dosing used to predict E. coli from 2018-06-01 / 2018-12-01.

# Methods

## Regression Models

Figure 2. Multiple linear regression model fit for pre-disinfection E. coli. Black circles represent actual observations. (a) Predicted pre-disinfection E.coli is plotted against actual observations. The blue line represents a perfect model fit. (b) Variation of predicted pre-disinfection E. coli given a range of aerobic solid retention times (SRTs) for north secondary.

## Non-Regression Model

Figure . Comparison of (a) random forest model and (b) support vector machine model for predicting E. coli into the PAA disinfection basin

Figure . Support vector machine model for predicting E. coli into the PAA disinfection basin

## Generalized Additive Models

## Predictive model comparison

| Model | R.squared |
| --- | --- |
| Multiple Lienar Regression | 0.07 |
| Random Forest | 0.07 |
| Generalized Addative Model | 0.01 |

## Principal Component Analysis

Figure . PCA variable loading for effluent of north secondary

## Partial Least Squares

Figure . PLS model fit for pre-disinfection E. coli. Black circles represent actual observations (x-axis) plotted against the prediction (y-axis). Blue line represents perfect model fit.

# Plot

data1 <- n.paa.online[,1][which( n.paa.online[,1] < 2.00001)]
data2 <- n.paa.grab[,12]

label1 <- colnames(data1)
label2 <- colnames(data2)

if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
  r1 <- range(index(data2)[which(!is.na(data2))])[1]
} else {
  r1 <- range(index(data1)[which(!is.na(data1))])[1]
}
if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
  r2 <- range(index(data2)[which(!is.na(data2))])[2]
} else {
  r2 <- range(index(data1)[which(!is.na(data1))])[2]
}

data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
data2plot <- data.frame(data2plot)
data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))

par(mar=c(5.1,4.1,2.1,4.1))
plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
axis(side = 2)
mtext(side = 2, label1, line = 2.5)

par(new = TRUE)
plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
axis(side = 4, col.axis = "red")
mtext(side = 4, label2, line = 2.5, col = "red")
# x-axis
axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
axis.labels <- sapply(axis.labels, function(x) x[length(x)])
axis.labels[[1]] <- 1
axis.labels <- as.numeric(unlist(axis.labels))
axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))

data1 <- n.paa.online[,7]
data2 <- n.paa.grab[,12]

label1 <- colnames(data1)
label2 <- colnames(data2)

if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
  r1 <- range(index(data2)[which(!is.na(data2))])[1]
} else {
  r1 <- range(index(data1)[which(!is.na(data1))])[1]
}
if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
  r2 <- range(index(data2)[which(!is.na(data2))])[2]
} else {
  r2 <- range(index(data1)[which(!is.na(data1))])[2]
}

data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
data2plot <- data.frame(data2plot)
data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))

par(mar=c(5.1,4.1,2.1,4.1))
plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
axis(side = 2)
mtext(side = 2, label1, line = 2.5)

par(new = TRUE)
plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
axis(side = 4, col.axis = "red")
mtext(side = 4, label2, line = 2.5, col = "red")
# x-axis
axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
axis.labels <- sapply(axis.labels, function(x) x[length(x)])
axis.labels[[1]] <- 1
axis.labels <- as.numeric(unlist(axis.labels))
axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))

## North secondary effluent lab data
nsec.eff.lab.fc24 <- as.data.frame(read_excel("North Secondary and Disinfection Process Data_20190215.xlsx", 
    sheet = "NSEC Eff Lab Data (FC24)", col_names = FALSE, 
    col_types = c("date", "numeric", "skip", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric"), skip = 3))

## New names:
## * `` -> ...1
## * `` -> ...2
## * `` -> ...3
## * `` -> ...4
## * `` -> ...5
## * ... and 7 more problems

nsec.eff.lab.fc24 <- xts(nsec.eff.lab.fc24[,-1], order.by = nsec.eff.lab.fc24[,1])
colnames(nsec.eff.lab.fc24) <- as.vector(sapply(c("ALK","CBOD","COD","NH3-N","NO5-N","OP","TP","TIN","TKN","TN","TSS"), function(x) paste("NSE", x, "(fc24)")))
sapply(nsec.eff.lab.fc24, function(x) plot.xts(x, type = "p", pch = 20, main = colnames(x), grid.col = NA))

## $`NSE ALK (fc24)`

## 
## $`NSE CBOD (fc24)`

## 
## $`NSE COD (fc24)`

## 
## $`NSE NH3-N (fc24)`

## 
## $`NSE NO5-N (fc24)`

## 
## $`NSE OP (fc24)`

## 
## $`NSE TP (fc24)`

## 
## $`NSE TIN (fc24)`

## 
## $`NSE TKN (fc24)`

## 
## $`NSE TN (fc24)`

## 
## $`NSE TSS (fc24)`

sapply(nsec.eff.lab.fc24, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,12]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

##       NSE ALK (fc24) NSE CBOD (fc24) NSE COD (fc24) NSE NH3-N (fc24)
##  [1,]              0               0              0                0
##  [2,]             10              10             10               10
##  [3,]             20              20             20               20
##  [4,]             30              30             30               30
##  [5,]             40              40             40               40
##  [6,]             50              50             50               50
##  [7,]             60              60             60               60
##  [8,]             70              70             70               70
##  [9,]             80              80             80               80
## [10,]             90              90             90               90
## [11,]            100             100            100              100
## [12,]            110             110            110              110
## [13,]            120             120            120              120
## [14,]            130             130            130              130
## [15,]            140             140            140              140
## [16,]            150             150            150              150
## [17,]            160             160            160              160
## [18,]            170             170            170              170
## [19,]            180             180            180              180
##       NSE NO5-N (fc24) NSE OP (fc24) NSE TP (fc24) NSE TIN (fc24)
##  [1,]                0             0             0              0
##  [2,]               10            10            10             10
##  [3,]               20            20            20             20
##  [4,]               30            30            30             30
##  [5,]               40            40            40             40
##  [6,]               50            50            50             50
##  [7,]               60            60            60             60
##  [8,]               70            70            70             70
##  [9,]               80            80            80             80
## [10,]               90            90            90             90
## [11,]              100           100           100            100
## [12,]              110           110           110            110
## [13,]              120           120           120            120
## [14,]              130           130           130            130
## [15,]              140           140           140            140
## [16,]              150           150           150            150
## [17,]              160           160           160            160
## [18,]              170           170           170            170
## [19,]              180           180           180            180
##       NSE TKN (fc24) NSE TN (fc24) NSE TSS (fc24)
##  [1,]              0             0              0
##  [2,]             10            10             10
##  [3,]             20            20             20
##  [4,]             30            30             30
##  [5,]             40            40             40
##  [6,]             50            50             50
##  [7,]             60            60             60
##  [8,]             70            70             70
##  [9,]             80            80             80
## [10,]             90            90             90
## [11,]            100           100            100
## [12,]            110           110            110
## [13,]            120           120            120
## [14,]            130           130            130
## [15,]            140           140            140
## [16,]            150           150            150
## [17,]            160           160            160
## [18,]            170           170            170
## [19,]            180           180            180

sapply(nsec.eff.lab.fc24, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,6]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

##       NSE ALK (fc24) NSE CBOD (fc24) NSE COD (fc24) NSE NH3-N (fc24)
##  [1,]              0               0              0                0
##  [2,]             10              10             10               10
##  [3,]             20              20             20               20
##  [4,]             30              30             30               30
##  [5,]             40              40             40               40
##  [6,]             50              50             50               50
##  [7,]             60              60             60               60
##  [8,]             70              70             70               70
##  [9,]             80              80             80               80
## [10,]             90              90             90               90
## [11,]            100             100            100              100
## [12,]            110             110            110              110
## [13,]            120             120            120              120
## [14,]            130             130            130              130
## [15,]            140             140            140              140
## [16,]            150             150            150              150
## [17,]            160             160            160              160
## [18,]            170             170            170              170
## [19,]            180             180            180              180
##       NSE NO5-N (fc24) NSE OP (fc24) NSE TP (fc24) NSE TIN (fc24)
##  [1,]                0             0             0              0
##  [2,]               10            10            10             10
##  [3,]               20            20            20             20
##  [4,]               30            30            30             30
##  [5,]               40            40            40             40
##  [6,]               50            50            50             50
##  [7,]               60            60            60             60
##  [8,]               70            70            70             70
##  [9,]               80            80            80             80
## [10,]               90            90            90             90
## [11,]              100           100           100            100
## [12,]              110           110           110            110
## [13,]              120           120           120            120
## [14,]              130           130           130            130
## [15,]              140           140           140            140
## [16,]              150           150           150            150
## [17,]              160           160           160            160
## [18,]              170           170           170            170
## [19,]              180           180           180            180
##       NSE TKN (fc24) NSE TN (fc24) NSE TSS (fc24)
##  [1,]              0             0              0
##  [2,]             10            10             10
##  [3,]             20            20             20
##  [4,]             30            30             30
##  [5,]             40            40             40
##  [6,]             50            50             50
##  [7,]             60            60             60
##  [8,]             70            70             70
##  [9,]             80            80             80
## [10,]             90            90             90
## [11,]            100           100            100
## [12,]            110           110            110
## [13,]            120           120            120
## [14,]            130           130            130
## [15,]            140           140            140
## [16,]            150           150            150
## [17,]            160           160            160
## [18,]            170           170            170
## [19,]            180           180            180

## North secondary influent lab
nsec.inf.lab.fc24 <- as.data.frame(read_excel("North Secondary and Disinfection Process Data_20190215.xlsx", 
    sheet = "NSEC Inf Lab Data (FC24)", col_names = FALSE, 
    col_types = c("date", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric"), skip = 3))

## New names:
## * `` -> ...1
## * `` -> ...2
## * `` -> ...3
## * `` -> ...4
## * `` -> ...5
## * ... and 9 more problems

nsec.inf.lab.fc24 <- xts(nsec.inf.lab.fc24[,-1], order.by = nsec.inf.lab.fc24[,1])
colnames(nsec.inf.lab.fc24) <- as.vector(sapply(c("NSI ALK","NSI BOD", "NSI COD", "NSI NH3-N", "NSI NO5-N", "NSI C:N", "NSI C:P", "NSI OP", "NSI TP", "NSI TIN", "NSI TKN", "NSI TN", "NSI TSS"), function(x) paste(x, "(fc24)")))

sapply(nsec.inf.lab.fc24, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,6]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

##       NSI ALK (fc24) NSI BOD (fc24) NSI COD (fc24) NSI NH3-N (fc24)
##  [1,]              0              0              0                0
##  [2,]             10             10             10               10
##  [3,]             20             20             20               20
##  [4,]             30             30             30               30
##  [5,]             40             40             40               40
##  [6,]             50             50             50               50
##  [7,]             60             60             60               60
##  [8,]             70             70             70               70
##  [9,]             80             80             80               80
## [10,]             90             90             90               90
## [11,]            100            100            100              100
## [12,]            110            110            110              110
## [13,]            120            120            120              120
## [14,]            130            130            130              130
## [15,]            140            140            140              140
## [16,]            150            150            150              150
## [17,]            160            160            160              160
## [18,]            170            170            170              170
## [19,]            180            180            180              180
##       NSI NO5-N (fc24) NSI C:N (fc24) NSI C:P (fc24) NSI OP (fc24)
##  [1,]                0              0              0             0
##  [2,]               10             10             10            10
##  [3,]               20             20             20            20
##  [4,]               30             30             30            30
##  [5,]               40             40             40            40
##  [6,]               50             50             50            50
##  [7,]               60             60             60            60
##  [8,]               70             70             70            70
##  [9,]               80             80             80            80
## [10,]               90             90             90            90
## [11,]              100            100            100           100
## [12,]              110            110            110           110
## [13,]              120            120            120           120
## [14,]              130            130            130           130
## [15,]              140            140            140           140
## [16,]              150            150            150           150
## [17,]              160            160            160           160
## [18,]              170            170            170           170
## [19,]              180            180            180           180
##       NSI TP (fc24) NSI TIN (fc24) NSI TKN (fc24) NSI TN (fc24)
##  [1,]             0              0              0             0
##  [2,]            10             10             10            10
##  [3,]            20             20             20            20
##  [4,]            30             30             30            30
##  [5,]            40             40             40            40
##  [6,]            50             50             50            50
##  [7,]            60             60             60            60
##  [8,]            70             70             70            70
##  [9,]            80             80             80            80
## [10,]            90             90             90            90
## [11,]           100            100            100           100
## [12,]           110            110            110           110
## [13,]           120            120            120           120
## [14,]           130            130            130           130
## [15,]           140            140            140           140
## [16,]           150            150            150           150
## [17,]           160            160            160           160
## [18,]           170            170            170           170
## [19,]           180            180            180           180
##       NSI TSS (fc24)
##  [1,]              0
##  [2,]             10
##  [3,]             20
##  [4,]             30
##  [5,]             40
##  [6,]             50
##  [7,]             60
##  [8,]             70
##  [9,]             80
## [10,]             90
## [11,]            100
## [12,]            110
## [13,]            120
## [14,]            130
## [15,]            140
## [16,]            150
## [17,]            160
## [18,]            170
## [19,]            180

nsec.inf.lab.grab <- as.data.frame(read_excel("North Secondary and Disinfection Process Data_20190215.xlsx",
    sheet = "NSEC Inf Lab Data (Grab)", col_names = FALSE,
    col_types = c("date", "numeric", "skip",
        "skip", "skip", "skip", "skip", "date",
        "numeric", "skip", "skip", "skip",
        "skip", "skip", "date", "numeric",
        "skip", "skip", "skip",
        "skip", "skip", "date", "numeric",
        "skip", "skip", "skip",
        "skip", "skip", "date",
        "numeric", "skip", "skip",
        "skip", "skip", "skip",
        "date", "numeric"), skip = 4))

## New names:
## * `` -> ...1
## * `` -> ...2
## * `` -> ...3
## * `` -> ...4
## * `` -> ...5
## * ... and 7 more problems

colnames(nsec.inf.lab.grab) <- c("Time", "NSI COD (grab)",
                                 "Time", "NSI MCOD (grab)",
                                 "Time", "NSI NO5-N (grab)",
                                 "Time", "NSI NO5M-N (grab)",
                                 "Time", "NSI TSS (grab)",
                                 "Time", "NSI TSSM (grab)")
for (i in c(1,3,5,7,9,11)) {
    blah <- nsec.inf.lab.grab[,c(i,(i+1))]
    blah <- na.omit(blah)
    blah <- xts(blah[,2], order.by = blah[,1])
    colnames(blah) <- colnames(nsec.inf.lab.grab)[i+1]
    if (i == 1) {
      nsec.inf.lab.grab.merged <- blah
    } else {
       nsec.inf.lab.grab.merged <- merge(nsec.inf.lab.grab.merged, blah)
    }
}


sapply(nsec.inf.lab.grab.merged, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,6]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

## $NSI.COD..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150
## 
## $NSI.MCOD..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150
## 
## $NSI.NO5.N..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180
## 
## $NSI.NO5M.N..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180
## 
## $NSI.TSS..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180
## 
## $NSI.TSSM..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180

Time plots reveal few correlations between E. coli and process variables. TSSM in the north secondary influent and

## North Secondary Effluent Flow Composite

data1 <- nsec.eff.lab.fc24
data2 <- n.paa.grab[,6]

label1 <- colnames(data1)
label2 <- colnames(data2)

all.data <- merge(data2, data1)
all.data.index <- which(!is.na(all.data[,1]))
for(i in 1:(length(all.data.index)-1)) {
    row.start <- all.data.index[i]
    row.stop <- all.data.index[i+1]
    data.locf <- na.locf(all.data[(row.start+1):row.stop,])
    if (i == 1) {
        new.data <- data.frame(data.locf[nrow(data.locf),])
    }
    if (i != 1) {
        new.data <- rbind(new.data, data.frame(data.locf[nrow(data.locf),]))
    }
}

apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data))[order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))]

## Pre.Disinfection.E..coli..MPN.100.mL. 
##                             1.0000000 
##                      NSE.NH3.N..fc24. 
##                             0.6868132 
##                        NSE.TSS..fc24. 
##                             0.4615385 
##                       NSE.CBOD..fc24. 
##                             0.4560440 
##                        NSE.TKN..fc24. 
##                             0.3681319 
##                      NSE.NO5.N..fc24. 
##                             0.3571429 
##                         NSE.TP..fc24. 
##                             0.3571429 
##                        NSE.TIN..fc24. 
##                             0.3571429 
##                         NSE.TN..fc24. 
##                             0.3571429 
##                        NSE.ALK..fc24. 
##                             0.2417582 
##                        NSE.COD..fc24. 
##                             0.1208791 
##                         NSE.OP..fc24. 
##                             0.1153846

new.data <- new.data[,order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))[1:10]]
new.data <- na.omit(new.data)


# pls.fit <- plsr(new.data[,1] ~ new.data[,2] + new.data[,3] + new.data[,4], scale = TRUE, validation = "CV")
# summary(pls.fit)
# plot(pls.fit)
# validationplot(pls.fit, val.type = "MSEP")
# 

# pls.reg.fit <- plsreg1(predictors = new.data[,2:4], response = new.data[,1], comps = 3, crosval = TRUE)
# plot(pls.reg.fit)
# plot(new.data[,1], pls.reg.fit$y.pred, log = 'yx')


mod_gam_nsec_eff <- gam(new.data[,1] ~ new.data[,2] + new.data[,5]  + new.data[,6] + new.data[,9])
summary(mod_gam_nsec_eff)

## 
## Family: gaussian 
## Link function: identity 
## 
## Formula:
## new.data[, 1] ~ new.data[, 2] + new.data[, 5] + new.data[, 6] + 
##     new.data[, 9]
## 
## Parametric coefficients:
##               Estimate Std. Error t value Pr(>|t|)
## (Intercept)      12679      32692   0.388    0.712
## new.data[, 2]   -12959      16254  -0.797    0.456
## new.data[, 5]  -186950     133650  -1.399    0.211
## new.data[, 6]  -180621     132407  -1.364    0.221
## new.data[, 9]   183944     133424   1.379    0.217
## 
## 
## R-sq.(adj) =  -0.013   Deviance explained = 39.2%
## GCV = 2.9892e+08  Scale est. = 1.6305e+08  n = 11

## North Secondary Influent Grab

data1 <- nsec.inf.lab.grab.merged
data2 <- n.paa.grab[,6]

label1 <- colnames(data1)
label2 <- colnames(data2)

all.data <- merge(data2, data1)
all.data.index <- which(!is.na(all.data[,1]))
for(i in 1:(length(all.data.index)-1)) {
    row.start <- all.data.index[i]
    row.stop <- all.data.index[i+1]
    data.locf <- na.locf(all.data[(row.start+1):row.stop,])
    if (i == 1) {
        new.data <- data.frame(data.locf[nrow(data.locf),])
    }
    if (i != 1) {
        new.data <- rbind(new.data, data.frame(data.locf[nrow(data.locf),]))
    }
}

apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data))

## Pre.Disinfection.E..coli..MPN.100.mL. 
##                            1.00000000 
##                        NSI.COD..grab. 
##                            0.04395604 
##                       NSI.MCOD..grab. 
##                            0.04395604 
##                      NSI.NO5.N..grab. 
##                            0.12637363 
##                     NSI.NO5M.N..grab. 
##                            0.12637363 
##                        NSI.TSS..grab. 
##                            0.12087912 
##                       NSI.TSSM..grab. 
##                            0.12637363

new.data <- new.data[,order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))[1:3]]
new.data <- na.omit(new.data)

library(pls)
pls.fit <- plsr(new.data[,1] ~ new.data[,2] + new.data[,3], scale = TRUE, validation = "CV")
summary(pls.fit)

## Data:    X dimension: 23 2 
##  Y dimension: 23 1
## Fit method: kernelpls
## Number of components considered: 2
## 
## VALIDATION: RMSEP
## Cross-validated using 10 random segments.
##        (Intercept)  1 comps  2 comps
## CV           14283    13538    13761
## adjCV        14283    13436    13633
## 
## TRAINING: % variance explained
##                1 comps  2 comps
## X                60.60   100.00
## new.data[, 1]    29.71    30.65

plot(pls.fit)

validationplot(pls.fit, val.type = "MSEP")

library(plsdepot)
pls.reg.fit <- plsreg1(predictors = new.data[,2:3], response = new.data[,1], comps = 3, crosval = TRUE)
plot(pls.reg.fit)

plot(new.data[,1], pls.reg.fit$y.pred, log = 'yx')

library(mgcv)
mod_gam_nsec_inf_grab <- gam(new.data[,1] ~ new.data[,2] + new.data[,3])
summary(mod_gam_nsec_inf_grab)

## 
## Family: gaussian 
## Link function: identity 
## 
## Formula:
## new.data[, 1] ~ new.data[, 2] + new.data[, 3]
## 
## Parametric coefficients:
##               Estimate Std. Error t value Pr(>|t|)  
## (Intercept)       8844       4831   1.831   0.0821 .
## new.data[, 2]   138620     247391   0.560   0.5815  
## new.data[, 3]    36516      13616   2.682   0.0143 *
## ---
## Signif. codes:  0 '***' 0.001 '**' 0.01 '*' 0.05 '.' 0.1 ' ' 1
## 
## 
## R-sq.(adj) =  0.237   Deviance explained = 30.7%
## GCV = 1.7119e+08  Scale est. = 1.4886e+08  n = 23

## North Secondary Influent Flow Composite

data1 <- nsec.inf.lab.fc24
data2 <- n.paa.grab[,6]

label1 <- colnames(data1)
label2 <- colnames(data2)

all.data <- merge(data2, data1)
all.data.index <- which(!is.na(all.data[,1]))
for(i in 1:(length(all.data.index)-1)) {
    row.start <- all.data.index[i]
    row.stop <- all.data.index[i+1]
    data.locf <- na.locf(all.data[(row.start+1):row.stop,])
    if (i == 1) {
        new.data <- data.frame(data.locf[nrow(data.locf),])
    }
    if (i != 1) {
        new.data <- rbind(new.data, data.frame(data.locf[nrow(data.locf),]))
    }
}

apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data))[order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))]

## Pre.Disinfection.E..coli..MPN.100.mL. 
##                             1.0000000 
##                      NSI.NH3.N..fc24. 
##                             0.8186813 
##                        NSI.TSS..fc24. 
##                             0.8131868 
##                        NSI.BOD..fc24. 
##                             0.7912088 
##                        NSI.C.N..fc24. 
##                             0.5549451 
##                      NSI.NO5.N..fc24. 
##                             0.4340659 
##                         NSI.TP..fc24. 
##                             0.4340659 
##                        NSI.TIN..fc24. 
##                             0.4340659 
##                        NSI.TKN..fc24. 
##                             0.4285714 
##                         NSI.TN..fc24. 
##                             0.4285714 
##                        NSI.C.P..fc24. 
##                             0.2692308 
##                        NSI.COD..fc24. 
##                             0.1483516 
##                        NSI.ALK..fc24. 
##                             0.1428571 
##                         NSI.OP..fc24. 
##                             0.1428571

new.data <- new.data[,order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))[1:10]]
new.data <- na.omit(new.data)

# library(pls)
# pls.fit <- plsr(new.data[,1] ~ new.data[,2] + new.data[,3] + new.data[,4], scale = TRUE, validation = "CV")
# summary(pls.fit)
# plot(pls.fit)
# validationplot(pls.fit, val.type = "MSEP")
# 
# library(plsdepot)
# pls.reg.fit <- plsreg1(predictors = new.data[,2:4], response = new.data[,1], comps = 3, crosval = TRUE)
# plot(pls.reg.fit)
# plot(new.data[,1], pls.reg.fit$y.pred, log = 'yx')

library(mgcv)
mod_gam_nsec_inf_fc24 <- gam(new.data[,1] ~ new.data[,2] + new.data[,3] + new.data[,4] + new.data[,5]  + new.data[,6]  + new.data[,7] + new.data[,8] + new.data[,9] + new.data[,10])
summary(mod_gam_nsec_inf_fc24)

## 
## Family: gaussian 
## Link function: identity 
## 
## Formula:
## new.data[, 1] ~ new.data[, 2] + new.data[, 3] + new.data[, 4] + 
##     new.data[, 5] + new.data[, 6] + new.data[, 7] + new.data[, 
##     8] + new.data[, 9] + new.data[, 10]
## 
## Parametric coefficients:
##                  Estimate Std. Error t value Pr(>|t|)
## (Intercept)     41369.471  38298.679   1.080    0.284
## new.data[, 2]    -238.308   2110.639  -0.113    0.910
## new.data[, 3]    -150.363    187.793  -0.801    0.426
## new.data[, 4]       6.639    112.788   0.059    0.953
## new.data[, 5]     402.942   2656.479   0.152    0.880
## new.data[, 6]    7066.524  59640.143   0.118    0.906
## new.data[, 7]    2571.653   2773.016   0.927    0.357
## new.data[, 8]    1670.564   2095.859   0.797    0.428
## new.data[, 9]   14444.766  55285.235   0.261    0.795
## new.data[, 10] -16107.098  55248.770  -0.292    0.772
## 
## 
## R-sq.(adj) =  0.00406   Deviance explained = 12.4%
## GCV = 1.8526e+08  Scale est. = 1.6088e+08  n = 76

# GAM

# South process GAM

# North process GAM

# Merge sensor and daily data

# Pairwise plots

# Supplementary Information

## Figures

Figure S1. Centered and scaled boxplots of north secondary online data from MWRD

Figure S2. Centered and scaled boxplots of north disinfection online data from MWRD

Figure S3. Centered and scaled boxplots of north disinfection grab sample data from MWRD

## Tables

Table S1. PCA variable contributions

|  | Dim.1 | Dim.2 | Dim.3 | Dim.4 | Dim.5 | Dim.6 | Dim.7 | Dim.8 | Dim.9 | Dim.10 | Dim.11 | Dim.12 | Dim.13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pre.disinf.E..coli..LOG.MPN.100mL. | 0.66 | 0.74 | 3.79 | 10.36 | 3.38 | 54.21 | 20.24 | 3.45 | 1.00 | 2.00 | 0.17 | 0.01 | 0.00 |
| NSEC.Aerobic.SRT | 1.48 | 1.73 | 14.02 | 0.07 | 28.40 | 0.00 | 4.30 | 35.78 | 2.69 | 2.72 | 8.31 | 0.43 | 0.06 |
| NSEC.Effluent.NH3 | 0.18 | 13.22 | 10.65 | 18.38 | 1.98 | 6.01 | 0.11 | 0.88 | 41.89 | 6.52 | 0.07 | 0.12 | 0.00 |
| NSEC.Effluent.OP | 0.22 | 12.99 | 9.95 | 24.28 | 0.75 | 0.47 | 0.51 | 0.05 | 48.03 | 0.55 | 2.15 | 0.02 | 0.00 |
| NSEC.Effluent.NO3 | 0.40 | 28.25 | 4.08 | 13.17 | 0.71 | 0.57 | 2.17 | 0.95 | 0.00 | 8.20 | 41.41 | 0.00 | 0.09 |
| NSEC.Effluent.TSS | 0.01 | 0.37 | 0.02 | 0.91 | 56.25 | 1.94 | 11.82 | 27.36 | 0.15 | 0.92 | 0.19 | 0.03 | 0.03 |
| NSEC.Effluent.NO5 | 0.01 | 23.84 | 0.29 | 27.46 | 0.00 | 0.91 | 0.42 | 3.50 | 0.01 | 3.51 | 39.46 | 0.19 | 0.39 |
| NSEC.Influent.Flow | 28.94 | 1.09 | 2.30 | 0.15 | 0.00 | 0.97 | 0.28 | 0.05 | 0.01 | 0.28 | 0.40 | 11.21 | 54.32 |
| NSEC.Effluent.Flow | 28.08 | 0.58 | 3.61 | 0.46 | 0.15 | 0.61 | 0.45 | 0.28 | 0.35 | 0.35 | 0.18 | 64.02 | 0.90 |
| AB.10.Influent.Flow | 30.34 | 0.32 | 0.71 | 0.41 | 0.09 | 0.33 | 0.41 | 0.18 | 0.08 | 0.45 | 0.05 | 23.11 | 43.52 |
| AB.10.RAS.Flow | 1.20 | 0.56 | 16.83 | 0.39 | 0.44 | 27.89 | 42.56 | 1.43 | 0.35 | 7.57 | 0.74 | 0.00 | 0.05 |
| AB.10.MLR.Flow | 4.81 | 6.85 | 17.77 | 0.08 | 7.16 | 1.60 | 1.04 | 20.22 | 1.74 | 35.02 | 2.39 | 0.80 | 0.53 |
| Quad.4.RAS.Flow | 3.67 | 9.47 | 15.99 | 3.88 | 0.69 | 4.48 | 15.68 | 5.88 | 3.71 | 31.92 | 4.48 | 0.06 | 0.10 |