# MWRD PAA

Kathryn B. Newhart

2/13/2019-3/16/2019

# Introduction

The Robert W. Hite Treatment Facility, operated by the Metro Wastewater Reclamation District (MWRD) of Denver, CO, treats ~130 million gallons per day (MGD) of wastewater produced by ~2 million people from the Denver-metro area and is the largest wastewater treatment facility in the Rocky Mountain west. In an effort to reduce the cost of disinfection, a peracetic acid (PAA) system was installed to replace the existing chloramine system. However, due to variable influent E. coli concentrations to the disinfection system, it has been difficult to optimize the dosing of PAA. In practice, PAA is overdosed to ensure that MWRD is meeting it’s discharge limit. The goal of this work is to identify correlations between upstream operating conditions in the secondary activated sludge system, E. coli concentrations, and PAA dosing.

# Goals

Design a PAA disinfection dosing system that account for:

- Upstream secondary treatment performance

- Flowrate through the disinfection basin (i.e., hydraulic retention time or HRT)

- Flow conditions in receiving water body (e.g., low, mid-range, high, dry, moist)

# Questions

- What effects pre-disinifection E. coli?

- What effects PAA disinfection efficiency?

# Procedure

Data was provided by MWRD at a variety of intervals and locations in the treatment process:

| Location | Frequency | Source | Variables |
| --- | --- | --- | --- |
| North Secondary | 15 min | Sensors | Influent/recirculation/effluent flow, Temperature, Ammonia, TSS, COD, pH, DO, SRT, Nitrate, Ortho-P, Nitrite |
| North Disinfection | 15 min | Sensors | Influent flow, PAA residual, PAA pump flow, PAA setpoint, HRT |
| North Disinfection | Daily | Grab | PAA dose, Upstream residual, Pre-disinfection E. coli, Effluent flow, HRT, Effluent E. coli, CT |
| North Secondary Influent | Daily | 24 hr composite | BOD, Ammonia, TSS |
| North Secondary Effluent | Daily | 24 hr composite | cBOD, Ammonia, TSS |
| North Secondary Influent | 2-3 days | 24 hr composite | COD, Nitrate-nitrite, C:N, C:P, TP, TIN, TKN, TN |
| North Secondary Effluent | 2-3 days | 24 hr composite | Alkalinity, Nitrate-nitrite, C:N, C:P, TP, TIN, TKN, TN |
| North Secondary | 2-5 Days | Grab | SVI, TSS, VSS |
| North Secondary Influent | Weekly | 24 hr composite | Alkalinity, OP |
| North Secondary Influent | Weekly | 24 hr composite | COD, OP |

# Data cleaning

If the distribution of each variable is assumed to be univariate normal and scaled (i.e., zero mean, unit variance), boxplots can be constructed to visualize the range of observations in the dataset. The existance of numerous outliers, heavily shifted on either side of the variable’s median (Figures S1-S3) indicate that the majority of water quality variables are not normally distributed.

To achieve the goal of predicting E. coli, a log-transformed pre-disinfection E. coli grab data was merged with a reduced North secondary dataset (Figure 1). For simplicity, sensors monitoring SRT and effluent water quality of the North secondary system were used.

Figure 1. Boxplots of water quality variables used to predict E. coli

# Methods

## Regression Models

Figure . Multiple linear regression model fit for pre-disinfection E. coli. Black circles represent actual observations (x-axis) plotted against the prediction (y-axis). Blue line represents perfect model fit.

Figure . Multiple linear regression model predicting pre-disinfection E. coli.

## Non-Regression Model

Figure . Comparison of (a) random forest model and (b) support vector machine model for predicting E. coli into the PAA disinfection basin

Figure . Support vector machine model for predicting E. coli into the PAA disinfection basin

## Generalized Additive Models

## Predictive model comparison

| Model | R.squared |
| --- | --- |
| Multiple Lienar Regression | 0.28 |
| Random Forest | 0.25 |
| Generalized Addative Model | 0.27 |

## Principal Component Analysis

Figure . PCA variable loading for effluent of north secondary

## Partial Least Squares

Figure . PLS model fit for pre-disinfection E. coli. Black circles represent actual observations (x-axis) plotted against the prediction (y-axis). Blue line represents perfect model fit.

# Plot

data1 <- n.paa.online[,1][which( n.paa.online[,1] < 2.00001)]
data2 <- n.paa.grab[,12]

label1 <- colnames(data1)
label2 <- colnames(data2)

if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
  r1 <- range(index(data2)[which(!is.na(data2))])[1]
} else {
  r1 <- range(index(data1)[which(!is.na(data1))])[1]
}
if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
  r2 <- range(index(data2)[which(!is.na(data2))])[2]
} else {
  r2 <- range(index(data1)[which(!is.na(data1))])[2]
}

data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
data2plot <- data.frame(data2plot)
data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))

par(mar=c(5.1,4.1,2.1,4.1))
plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
axis(side = 2)
mtext(side = 2, label1, line = 2.5)

par(new = TRUE)
plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
axis(side = 4, col.axis = "red")
mtext(side = 4, label2, line = 2.5, col = "red")
# x-axis
axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
axis.labels <- sapply(axis.labels, function(x) x[length(x)])
axis.labels[[1]] <- 1
axis.labels <- as.numeric(unlist(axis.labels))
axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))

data1 <- n.paa.online[,7]
data2 <- n.paa.grab[,12]

label1 <- colnames(data1)
label2 <- colnames(data2)

if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
  r1 <- range(index(data2)[which(!is.na(data2))])[1]
} else {
  r1 <- range(index(data1)[which(!is.na(data1))])[1]
}
if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
  r2 <- range(index(data2)[which(!is.na(data2))])[2]
} else {
  r2 <- range(index(data1)[which(!is.na(data1))])[2]
}

data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
data2plot <- data.frame(data2plot)
data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))

par(mar=c(5.1,4.1,2.1,4.1))
plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
axis(side = 2)
mtext(side = 2, label1, line = 2.5)

par(new = TRUE)
plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
axis(side = 4, col.axis = "red")
mtext(side = 4, label2, line = 2.5, col = "red")
# x-axis
axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
axis.labels <- sapply(axis.labels, function(x) x[length(x)])
axis.labels[[1]] <- 1
axis.labels <- as.numeric(unlist(axis.labels))
axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))

## North secondary effluent lab data
nsec.eff.lab.fc24 <- as.data.frame(read_excel("North Secondary and Disinfection Process Data_20190215.xlsx", 
    sheet = "NSEC Eff Lab Data (FC24)", col_names = FALSE, 
    col_types = c("date", "numeric", "skip", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric"), skip = 3))

## New names:
## * `` -> ...1
## * `` -> ...2
## * `` -> ...3
## * `` -> ...4
## * `` -> ...5
## * ... and 7 more problems

nsec.eff.lab.fc24 <- xts(nsec.eff.lab.fc24[,-1], order.by = nsec.eff.lab.fc24[,1])
colnames(nsec.eff.lab.fc24) <- as.vector(sapply(c("ALK","CBOD","COD","NH3-N","NO5-N","OP","TP","TIN","TKN","TN","TSS"), function(x) paste("NSE", x, "(fc24)")))
sapply(nsec.eff.lab.fc24, function(x) plot.xts(x, type = "p", pch = 20, main = colnames(x), grid.col = NA))

## $`NSE ALK (fc24)`

## 
## $`NSE CBOD (fc24)`

## 
## $`NSE COD (fc24)`

## 
## $`NSE NH3-N (fc24)`

## 
## $`NSE NO5-N (fc24)`

## 
## $`NSE OP (fc24)`

## 
## $`NSE TP (fc24)`

## 
## $`NSE TIN (fc24)`

## 
## $`NSE TKN (fc24)`

## 
## $`NSE TN (fc24)`

## 
## $`NSE TSS (fc24)`

sapply(nsec.eff.lab.fc24, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,12]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

## $`NSE ALK (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE CBOD (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE COD (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE NH3-N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE NO5-N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE OP (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TP (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TIN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TKN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360
## 
## $`NSE TSS (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370

sapply(nsec.eff.lab.fc24, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,6]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

## $`NSE ALK (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE CBOD (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE COD (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE NH3-N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE NO5-N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE OP (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TP (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TIN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TKN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSE TN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360
## 
## $`NSE TSS (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370

## North secondary influent lab
nsec.inf.lab.fc24 <- as.data.frame(read_excel("North Secondary and Disinfection Process Data_20190215.xlsx", 
    sheet = "NSEC Inf Lab Data (FC24)", col_names = FALSE, 
    col_types = c("date", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric", "numeric", 
        "numeric", "numeric"), skip = 3))

## New names:
## * `` -> ...1
## * `` -> ...2
## * `` -> ...3
## * `` -> ...4
## * `` -> ...5
## * ... and 9 more problems

nsec.inf.lab.fc24 <- xts(nsec.inf.lab.fc24[,-1], order.by = nsec.inf.lab.fc24[,1])
colnames(nsec.inf.lab.fc24) <- as.vector(sapply(c("NSI ALK","NSI BOD", "NSI COD", "NSI NH3-N", "NSI NO5-N", "NSI C:N", "NSI C:P", "NSI OP", "NSI TP", "NSI TIN", "NSI TKN", "NSI TN", "NSI TSS"), function(x) paste(x, "(fc24)")))

sapply(nsec.inf.lab.fc24, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,6]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

## $`NSI ALK (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI BOD (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI COD (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI NH3-N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI NO5-N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI C:N (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI C:P (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI OP (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI TP (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI TIN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI TKN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370
## 
## $`NSI TN (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360
## 
## $`NSI TSS (fc24)`
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310 320 330
## [35] 340 350 360 370

nsec.inf.lab.grab <- as.data.frame(read_excel("North Secondary and Disinfection Process Data_20190215.xlsx",
    sheet = "NSEC Inf Lab Data (Grab)", col_names = FALSE,
    col_types = c("date", "numeric", "skip",
        "skip", "skip", "skip", "skip", "date",
        "numeric", "skip", "skip", "skip",
        "skip", "skip", "date", "numeric",
        "skip", "skip", "skip",
        "skip", "skip", "date", "numeric",
        "skip", "skip", "skip",
        "skip", "skip", "date",
        "numeric", "skip", "skip",
        "skip", "skip", "skip",
        "date", "numeric"), skip = 4))

## New names:
## * `` -> ...1
## * `` -> ...2
## * `` -> ...3
## * `` -> ...4
## * `` -> ...5
## * ... and 7 more problems

colnames(nsec.inf.lab.grab) <- c("Time", "NSI COD (grab)",
                                 "Time", "NSI MCOD (grab)",
                                 "Time", "NSI NO5-N (grab)",
                                 "Time", "NSI NO5M-N (grab)",
                                 "Time", "NSI TSS (grab)",
                                 "Time", "NSI TSSM (grab)")
for (i in c(1,3,5,7,9,11)) {
    blah <- nsec.inf.lab.grab[,c(i,(i+1))]
    blah <- na.omit(blah)
    blah <- xts(blah[,2], order.by = blah[,1])
    colnames(blah) <- colnames(nsec.inf.lab.grab)[i+1]
    if (i == 1) {
      nsec.inf.lab.grab.merged <- blah
    } else {
       nsec.inf.lab.grab.merged <- merge(nsec.inf.lab.grab.merged, blah)
    }
}


sapply(nsec.inf.lab.grab.merged, function(data1) {
  # data1 <- n.paa.online[,7]
  data2 <- n.paa.grab[,6]
  
  label1 <- colnames(data1)
  label2 <- colnames(data2)
  
  if (range(index(data1)[which(!is.na(data1))])[1] < range(index(data2)[which(!is.na(data2))])[1]) {
    r1 <- range(index(data2)[which(!is.na(data2))])[1]
  } else {
    r1 <- range(index(data1)[which(!is.na(data1))])[1]
  }
  if (range(index(data1)[which(!is.na(data1))])[2] > range(index(data2)[which(!is.na(data2))])[2]) {
    r2 <- range(index(data2)[which(!is.na(data2))])[2]
  } else {
    r2 <- range(index(data1)[which(!is.na(data1))])[2]
  }
  
  data2plot <- na.omit(data1)[paste0(r1,"/",r2)]
  data2plot <- merge(data2plot, data2[paste0(r1,"/",r2)])
  data2plot <- data.frame(data2plot)
  data2plot <- cbind(data2plot, as.numeric(difftime(as.POSIXct(rownames(data2plot)), as.POSIXct(rownames(data2plot)[1]),units = "days")))
  
  par(mar=c(5.1,4.1,2.1,4.1))
  plot(x = data2plot[,3], y = data2plot[,1], type = "p", pch = 20, col = "black", xaxt = "n", xlab = "", ylab = "", yaxt="n")
  axis(side = 2)
  mtext(side = 2, label1, line = 2.5)
  
  par(new = TRUE)
  plot(x = data2plot[,3], y = data2plot[,2], type = "p", pch = 20, col = "red", xaxt = "n", xlab = "", yaxt="n", ylab = "", log = 'y')
  axis(side = 4, col.axis = "red")
  mtext(side = 4, label2, line = 2.5, col = "red")
  # x-axis
  axis.ticks <- seq(0,round(data2plot[nrow(data2plot),3]), by = 10)
  axis.labels <- sapply(axis.ticks, function(x) which(x > data2plot[,3]))
  axis.labels <- sapply(axis.labels, function(x) x[length(x)])
  axis.labels[[1]] <- 1
  axis.labels <- as.numeric(unlist(axis.labels))
  axis(side = 1, at = axis.ticks, labels = format(as.POSIXct(rownames(data2plot)[axis.labels]), "%m/%d"))
})

## $NSI.COD..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280
## 
## $NSI.MCOD..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280
## 
## $NSI.NO5.N..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300
## 
## $NSI.NO5M.N..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300
## 
## $NSI.TSS..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310
## 
## $NSI.TSSM..grab.
##  [1]   0  10  20  30  40  50  60  70  80  90 100 110 120 130 140 150 160
## [18] 170 180 190 200 210 220 230 240 250 260 270 280 290 300 310

Time plots reveal few correlations between E. coli and process variables. TSSM in the north secondary influent and

## North Secondary Effluent Flow Composite

data1 <- nsec.eff.lab.fc24
data2 <- n.paa.grab[,6]

label1 <- colnames(data1)
label2 <- colnames(data2)

all.data <- merge(data2, data1)
all.data.index <- which(!is.na(all.data[,1]))
for(i in 1:(length(all.data.index)-1)) {
    row.start <- all.data.index[i]
    row.stop <- all.data.index[i+1]
    data.locf <- na.locf(all.data[(row.start+1):row.stop,])
    if (i == 1) {
        new.data <- data.frame(data.locf[nrow(data.locf),])
    }
    if (i != 1) {
        new.data <- rbind(new.data, data.frame(data.locf[nrow(data.locf),]))
    }
}

apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data))[order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))]

## Pre.Disinfection.E..coli..MPN.100.mL. 
##                             1.0000000 
##                      NSE.NH3.N..fc24. 
##                             0.7813411 
##                       NSE.CBOD..fc24. 
##                             0.6180758 
##                        NSE.TSS..fc24. 
##                             0.6180758 
##                        NSE.TKN..fc24. 
##                             0.4227405 
##                      NSE.NO5.N..fc24. 
##                             0.4169096 
##                         NSE.TP..fc24. 
##                             0.4169096 
##                        NSE.TIN..fc24. 
##                             0.4052478 
##                         NSE.TN..fc24. 
##                             0.3994169 
##                        NSE.ALK..fc24. 
##                             0.2915452 
##                        NSE.COD..fc24. 
##                             0.1370262 
##                         NSE.OP..fc24. 
##                             0.1370262

new.data <- new.data[,order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))[1:10]]
new.data <- na.omit(new.data)

# library(pls)
# pls.fit <- plsr(new.data[,1] ~ new.data[,2] + new.data[,3] + new.data[,4], scale = TRUE, validation = "CV")
# summary(pls.fit)
# plot(pls.fit)
# validationplot(pls.fit, val.type = "MSEP")
# 
# library(plsdepot)
# pls.reg.fit <- plsreg1(predictors = new.data[,2:4], response = new.data[,1], comps = 3, crosval = TRUE)
# plot(pls.reg.fit)
# plot(new.data[,1], pls.reg.fit$y.pred, log = 'yx')

library(mgcv)
mod_gam_nsec_eff <- gam(new.data[,1] ~ new.data[,2] + new.data[,5]  + new.data[,6] + new.data[,9])
summary(mod_gam_nsec_eff)

## 
## Family: gaussian 
## Link function: identity 
## 
## Formula:
## new.data[, 1] ~ new.data[, 2] + new.data[, 5] + new.data[, 6] + 
##     new.data[, 9]
## 
## Parametric coefficients:
##               Estimate Std. Error t value Pr(>|t|)  
## (Intercept)       6079      15372   0.395   0.6955  
## new.data[, 2]   -11808       6908  -1.709   0.0985 .
## new.data[, 5]  -124870      69426  -1.799   0.0829 .
## new.data[, 6]  -122966      69128  -1.779   0.0861 .
## new.data[, 9]   125164      69454   1.802   0.0823 .
## ---
## Signif. codes:  0 '***' 0.001 '**' 0.01 '*' 0.05 '.' 0.1 ' ' 1
## 
## 
## R-sq.(adj) =  0.0833   Deviance explained = 19.8%
## GCV = 1.5455e+08  Scale est. = 1.3114e+08  n = 33

## North Secondary Influent Grab

data1 <- nsec.inf.lab.grab.merged
data2 <- n.paa.grab[,6]

label1 <- colnames(data1)
label2 <- colnames(data2)

all.data <- merge(data2, data1)
all.data.index <- which(!is.na(all.data[,1]))
for(i in 1:(length(all.data.index)-1)) {
    row.start <- all.data.index[i]
    row.stop <- all.data.index[i+1]
    data.locf <- na.locf(all.data[(row.start+1):row.stop,])
    if (i == 1) {
        new.data <- data.frame(data.locf[nrow(data.locf),])
    }
    if (i != 1) {
        new.data <- rbind(new.data, data.frame(data.locf[nrow(data.locf),]))
    }
}

apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data))

## Pre.Disinfection.E..coli..MPN.100.mL. 
##                            1.00000000 
##                        NSI.COD..grab. 
##                            0.04956268 
##                       NSI.MCOD..grab. 
##                            0.04956268 
##                      NSI.NO5.N..grab. 
##                            0.07580175 
##                     NSI.NO5M.N..grab. 
##                            0.07871720 
##                        NSI.TSS..grab. 
##                            0.10495627 
##                       NSI.TSSM..grab. 
##                            0.10787172

new.data <- new.data[,order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))[1:3]]
new.data <- na.omit(new.data)

library(pls)
pls.fit <- plsr(new.data[,1] ~ new.data[,2] + new.data[,3], scale = TRUE, validation = "CV")
summary(pls.fit)

## Data:    X dimension: 36 2 
##  Y dimension: 36 1
## Fit method: kernelpls
## Number of components considered: 2
## 
## VALIDATION: RMSEP
## Cross-validated using 10 random segments.
##        (Intercept)  1 comps  2 comps
## CV           12880    13329    13395
## adjCV        12880    13278    13336
## 
## TRAINING: % variance explained
##                1 comps  2 comps
## X               91.433  100.000
## new.data[, 1]    1.138    3.109

plot(pls.fit)

validationplot(pls.fit, val.type = "MSEP")

library(plsdepot)
pls.reg.fit <- plsreg1(predictors = new.data[,2:3], response = new.data[,1], comps = 3, crosval = TRUE)
plot(pls.reg.fit)

plot(new.data[,1], pls.reg.fit$y.pred, log = 'yx')

library(mgcv)
mod_gam_nsec_inf_grab <- gam(new.data[,1] ~ new.data[,2] + new.data[,3])
summary(mod_gam_nsec_inf_grab)

## 
## Family: gaussian 
## Link function: identity 
## 
## Formula:
## new.data[, 1] ~ new.data[, 2] + new.data[, 3]
## 
## Parametric coefficients:
##               Estimate Std. Error t value Pr(>|t|)
## (Intercept)    16904.9    11691.2   1.446    0.158
## new.data[, 2]    210.5      289.4   0.727    0.472
## new.data[, 3]   -217.7      218.3  -0.998    0.326
## 
## 
## R-sq.(adj) =  -0.0276   Deviance explained = 3.11%
## GCV = 1.808e+08  Scale est. = 1.6573e+08  n = 36

## North Secondary Influent Flow Composite

data1 <- nsec.inf.lab.fc24
data2 <- n.paa.grab[,6]

label1 <- colnames(data1)
label2 <- colnames(data2)

all.data <- merge(data2, data1)
all.data.index <- which(!is.na(all.data[,1]))
for(i in 1:(length(all.data.index)-1)) {
    row.start <- all.data.index[i]
    row.stop <- all.data.index[i+1]
    data.locf <- na.locf(all.data[(row.start+1):row.stop,])
    if (i == 1) {
        new.data <- data.frame(data.locf[nrow(data.locf),])
    }
    if (i != 1) {
        new.data <- rbind(new.data, data.frame(data.locf[nrow(data.locf),]))
    }
}

apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data))[order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))]

## Pre.Disinfection.E..coli..MPN.100.mL. 
##                             1.0000000 
##                      NSI.NH3.N..fc24. 
##                             0.8542274 
##                        NSI.TSS..fc24. 
##                             0.8513120 
##                        NSI.BOD..fc24. 
##                             0.8396501 
##                        NSI.C.N..fc24. 
##                             0.5772595 
##                      NSI.NO5.N..fc24. 
##                             0.4635569 
##                         NSI.TP..fc24. 
##                             0.4635569 
##                        NSI.TKN..fc24. 
##                             0.4606414 
##                        NSI.TIN..fc24. 
##                             0.4548105 
##                         NSI.TN..fc24. 
##                             0.4489796 
##                        NSI.C.P..fc24. 
##                             0.2827988 
##                        NSI.COD..fc24. 
##                             0.1690962 
##                         NSI.OP..fc24. 
##                             0.1545190 
##                        NSI.ALK..fc24. 
##                             0.1486880

new.data <- new.data[,order(-apply(new.data, 2, function(x) length(which(!is.na(x)))/nrow(new.data)))[1:10]]
new.data <- na.omit(new.data)

# library(pls)
# pls.fit <- plsr(new.data[,1] ~ new.data[,2] + new.data[,3] + new.data[,4], scale = TRUE, validation = "CV")
# summary(pls.fit)
# plot(pls.fit)
# validationplot(pls.fit, val.type = "MSEP")
# 
# library(plsdepot)
# pls.reg.fit <- plsreg1(predictors = new.data[,2:4], response = new.data[,1], comps = 3, crosval = TRUE)
# plot(pls.reg.fit)
# plot(new.data[,1], pls.reg.fit$y.pred, log = 'yx')

library(mgcv)
mod_gam_nsec_inf_fc24 <- gam(new.data[,1] ~ new.data[,2] + new.data[,3] + new.data[,4] + new.data[,5]  + new.data[,6]  + new.data[,7] + new.data[,8] + new.data[,9] + new.data[,10])
summary(mod_gam_nsec_inf_fc24)

## 
## Family: gaussian 
## Link function: identity 
## 
## Formula:
## new.data[, 1] ~ new.data[, 2] + new.data[, 3] + new.data[, 4] + 
##     new.data[, 5] + new.data[, 6] + new.data[, 7] + new.data[, 
##     8] + new.data[, 9] + new.data[, 10]
## 
## Parametric coefficients:
##                 Estimate Std. Error t value Pr(>|t|)  
## (Intercept)     34282.83   25246.20   1.358   0.1766  
## new.data[, 2]   -1994.91    1649.42  -1.209   0.2285  
## new.data[, 3]    -197.50     133.28  -1.482   0.1406  
## new.data[, 4]      77.02      78.66   0.979   0.3292  
## new.data[, 5]    -447.07    1670.57  -0.268   0.7894  
## new.data[, 6]   12685.50   41597.12   0.305   0.7608  
## new.data[, 7]    2504.14    2493.36   1.004   0.3169  
## new.data[, 8]   27386.15   40106.01   0.683   0.4958  
## new.data[, 9]    3206.57    1608.69   1.993   0.0481 *
## new.data[, 10] -28717.58   40124.58  -0.716   0.4753  
## ---
## Signif. codes:  0 '***' 0.001 '**' 0.01 '*' 0.05 '.' 0.1 ' ' 1
## 
## 
## R-sq.(adj) =  0.0687   Deviance explained = 12.4%
## GCV = 2.2572e+08  Scale est. = 2.1087e+08  n = 152

# GAM

# South process GAM

# North process GAM

# Merge sensor and daily data

# Pairwise plots

# Supplementary Information

## Figures

Figure S1. Centered and scaled boxplots of north secondary online data from MWRD

Figure S2. Centered and scaled boxplots of north disinfection online data from MWRD

Figure S3. Centered and scaled boxplots of north disinfection grab sample data from MWRD

## Tables

Table S1. PCA variable contributions

|  | Dim.1 | Dim.2 | Dim.3 | Dim.4 | Dim.5 | Dim.6 | Dim.7 | Dim.8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pre.disinf.E..coli..LOG.MPN.100mL. | 27.36 | 0.26 | 5.75 | 5.23 | 13.98 | 13.24 | 0.01 | 34.17 |
| NSEC.Aerobic.SRT | 15.87 | 0.03 | 13.62 | 1.30 | 12.37 | 56.80 | 0.01 | 0.01 |
| NSEC.Effluent.NH3 | 0.90 | 42.21 | 0.30 | 1.64 | 6.14 | 1.12 | 46.15 | 1.55 |
| NSEC.Effluent.OP | 2.07 | 20.11 | 0.11 | 49.01 | 5.57 | 1.27 | 20.65 | 1.21 |
| NSEC.Effluent.NO3 | 0.15 | 27.91 | 1.09 | 33.31 | 9.50 | 0.47 | 26.14 | 1.43 |
| NSEC.Effluent.TSS | 6.98 | 0.15 | 65.14 | 0.00 | 13.37 | 13.22 | 0.09 | 1.05 |
| NSEC.Effluent.NO5 | 34.85 | 1.56 | 4.42 | 0.23 | 0.15 | 4.02 | 3.16 | 51.61 |
| NSEC.Effluent.Flow | 11.82 | 7.78 | 9.58 | 9.28 | 38.92 | 9.87 | 3.79 | 8.96 |