# Real-time PAA Disinfection Control in Municipal Wastewater Treament

Kate Newhart

2019-12-19

# July 2019 Evaluation

## Step 1: Calculate CT

For each sampling event and location, HRT was calculated to fit to a first-order decay model to generate PAA concentration as a function of time (C(t)). The integral of C(t) and the total disinfection potential (CT) is 1k(C0−C0*e−kt30min) where C0 is the PAA cocentration at time 0 and k is the model parameter for first-order decay. C0 is not equal to the initial dose of PAA (Cdose) but the residual after some initial PAA demand (D) has been consumed (C0=Cdose−D). Model parameters k and D are fit for each sampling event and CT calculated (highlighted in orange below). Of the 66 sampleing events, only event #24 is excluded from further analysis due to poor data (PAA measured at the 1-minute sample location is less than all downstream locations).

## Step 2: Predict CT

Using artifical neural networks (ANN), CT can be predicted from minute of the day, disinfection basin influent flow, PAA flow, PAA residual from a Chemscan instrument downstream of the 1-minute sample location, aerobic SRT of the secondary process, and a variety of water quality measurements taken at the effluent of the secondary process (ammonia, nitrate, nitrite, phosphorus, and TSS). A rolling window approach is used for testing in which a training dataset of n observations is used to fit a 1-layer ANN with 5 nodes. Observation n+1 is compared to the ANN prediction at time n+1 using root mean squared error (RMSE). The window then moves forward to include observations 2–(n+1) and test observation n+2. The window moves forward, is re-trained, and tested on a new obseration for the entire dataset (unitl all 65 sampling events have been used for training or testing).

## Predict Predisinfection E.coli

## Predict Final E.coli

## Step 6: Real-time E. coli