## Sheet2
North | Location Code | Common Name | Labworks Sample Description | Actual Sample Location Description | Acquired Type | Analysis Codes | notes
Pre-PAA | 012_700_1011 | N_PREPAA | RWH, North Pre-PAA addition | sample grabbed from the flume upstream of the N. PAA Dosing | G | ECIDX | in the past we have also sampled for CODLL, NH3A and other various things but not regularly
1 Min | 012_712_1011 | N_PAA1MIN | RWH North, Post-PAA addition, 1 min contact time | sample grabbed at the end of the static mixer | G | PAAR, ECIDX | the lab analysts grab a PAA sample here daily
10 Min | 012_712_1012 | N_PAA10MIN | RWH North, Post-PAA addition, 10 min contact time | sample grabbed at the end of the 1st pass of the contact chamber | G | PAA, ECIDX | there won't be a lot of data in Labworks for these sites, it's mostly data I've been collecting "off the record"
20 Min | 012_712_1013 | N_PAA20MIN | RWH North, Post-PAA addition, 20 min contact time | sample grabbed at the end of the 2st pass of the contact chamber | G | PAA, ECIDX
30 Min | 010_712_1021 | N_PAA30MIN | RWH North, Post-PAA, Pre-SBS, 30 min contact time | sample grabbed after the banana weir, upstream of SBS dose | G | PAA, ECIDX | also used in Labworks as the ChemScan location NPREDECHLR for NO5, NH3A data
NFE-PC |  | NFE-PC | North Final Effluent, Process Control | sample grabbed ~15 yds upstream from the NPDES NFE point | G | PAA, ECIDX
NFE | 2B | NFEPLATFO | North Final Effluent Platfrom | NFE NPDES point | G | ECIDX | all other NFE complaince data collected here
South | Location Code | Common Name | Labworks Sample Description | Actual Sample Location Description | Acquired Type | Analysis Codes | notes
Pre-PAA | 011_530_1011 | SSCEFF1 | South Secondary Clarifer Effluent #1 | collected from 01/17/18 - 10/19/18 | G | ECIDX | in the past we have also sampled for CODLL, NH3A and other various things but not regularly
| 011_530_1041 | SSCEFF4 | South Secondary Clarifer Effluent #4 | collected from 10/20/18 - 04/07/19 | G | ECIDX
| 011_530_1061 | SSCEFF6 | South Secondary Clarifer Effluent #6 | collected from 04/07/19 - current | G | ECIDX
30 Min | 011_712_1021 | S_PAA30MIN | RWH South, Post-PAA, Pre-SBS, 30 min contact time | sample grabbed after Sample Bldg 2, just upstream of SBS dose | G | PAA, ECIDX | also used in Labworks as the SFECHMSCAN for NO5, NH3A data
SFE-PC |  | SFE-PC | South Final Effluent, Process Control | sample grabbed ~15 yds upstream from the NPDES SFE point | G | PAA, ECIDX
SFE | 4B | SFEPLATFO | South Final Effluent Platfrom | SFE NPDES point | G | ECIDX | all other NFE complaince data collected here
CFE | 6 | CFE | Combined Final Effluent | Manually flow composited grab samples from NFE and SFE | G | PAAR | this is our compliance PAAR or TRC residual